| SKABA4 Perform photo rejuvenation of the skin using laser, light and aesthetic energy based devices |  |
| --- | --- |

Overview

​This standard is for aesthetic practitioners using laser, intense light sources, high intensity light emitting diodes and aesthetic energy based devices for photo rejuvenation of the skin. You will also be required to do a post treatment evaluation for continuous improvement of both your delivery and for the client's future needs.

Performance criteria

You must be able to:

- implement consultation, health, safety and hygiene practices throughout the treatment

- agree the

- treatment objectives

- with the client

- prepare the

- treatment area

- following the treatment protocol

- select equipment variables and use equipment according to the treatment protocol and manufacturers' instructions

- manipulate the skin for optimal treatment outcome, depending on the

- treatment area

- and the treatment protocol

- follow the treatment protocol to cover the

- treatment area

- check your client's wellbeing and monitor skin reaction throughout the treatment

- implement the correct course of action in the event of an adverse reaction to the treatment

- conclude the treatment by returning the equipment into safe or stand-by mode

- take treatment photographic evidence of the

- treatment area

- following organisational procedures

- complete the client's records and store in accordance with data legislation

- use evaluation methods which were agreed within the treatment protocol

- collate and record the information gained from client feedback, client records and your own observations

- provide verbal and written advice

- *and *

- recommendations to your client regarding the post treatment aftercare

- agree any alterations for future treatment with your client and record the outcome of your evaluation

Knowledge and understanding

You need to know and understand:

- the consultation, health, safety and hygiene requirements when performing photo rejuvenation treatments

- why you must have good lighting in the controlled area and illuminate the treatment area

- the maintenance and correct use of marking out tools and techniques

- the different types of approved cooling methods and when and how to use them

- the preparation of treatment area(s) to be treated and why this can vary in accordance with the treatment protocol and manufacturers' guidance

- the reasons for manipulating the skin during the treatment

- the benefits and specifications of different types of laser, intense light sources, high intensity light emitting diodes and aesthetic energy based devices

- how light and laser device outputs are described and measured in relation to the electromagnetic spectrum

- the compliance, classification, manufacturer service, user maintenance and warning labels on laser, intense light sources, high intensity light emitting diodes and aesthetic energy based devices

- the core of knowledge in the use of laser devices

- the role of a laser protection advisor

- the legislative requirements with regards to optical radiation

- the causes and hazards of accidental exposure to optical radiation

- how to deliver the treatment objectives following the treatment protocol  including:

14.1 the origin and purpose of the treatment protocol and why it must be adhered to

14.2 the content of the treatment protocol including treatment indications and

adverse reactions

- monitoring procedures for checking the treatment area and the client's wellbeing

- the characteristics of optical radiation and how it interacts with the intended  chromophore

- the principles of light tissue interactions and selective photothermolysis

- the potential hazards of laser, intense light sources, high intensity light emitting diodes and aesthetic energy based devices

- the legal significance of producing photographic evidence of the treatment area

- the

- anatomy and physiology

- relevant to this standard

- the legal requirements of completing and storing client records

- the clinical outcomes expected from photo rejuvenation of the skin using laser, intense light sources, high intensity light emitting diodes and aesthetic energy based devices

- the fundamentals of dermatological assessment of skin and skin conditions for safe photo rejuvenation treatments

24.the purpose of evaluation activities

- how to collate, analyse, summarise and record evaluation feedback in a clear and concise way

26. the aftercare

advice and recommendations

on products and treatments

Scope/range

Additional information

It is expected that an individual undertaking this standard already has the skills, knowledge and behaviours identified within the aesthetic practitioner's treatment guidance or the aesthetics National Occupational Standards.

The individual is expected to already be able to demonstrate competency in determining the relative (restrictive) and absolute (preventative) contraindications for the aesthetic standards undertaken.

It is expected that this standard is used in conjunction with SKABA1 – Maintain safe, hygienic and effective working practices for aesthetic treatments and SKABA2 – Consult, plan and prepare for aesthetic treatments.

Items listed within the scope/range should be evidenced in line with the specific type of treatment being performed.

Scope/range related to performance criteria

Treatment objectives

- improving the appearance of skin affected by intrinsic and extrinsic factors

- treatment of acne

- treatment of benign, discrete and generalised pigmented and vascular lesions

Treatment area

- head, face and neck

- torso

- limbs

Scope/range related to knowledge and understanding

Adverse reactions

- excessive skin greying or whitening

- lesion colour changes

- hyperaemia and irritation

- blistering

- hyperpigmentation and hypopigmentation

- excessive oedema

- excessive discomfort

- excessive bruising

- scarring

- oozing and crusting

- burns

- eye injuries requiring medical referral

- dizziness

- fainting

Anatomy and physiology

- the structure and functions of the body systems and their interdependence on each other

- the structure and function of the skin and skin appendages

- skin diseases, disorders and conditions

- the aging process of the skin including the effects of genetics, lifestyle and the environment

- the skin and wound healing processes

* *

Advice and recommendations

- the client and practitioner's legal rights and responsibilities

- treatment maintenance

- post treatment expectations and associated time frames

- restrictions and contra-actions

- additional products and treatments

Glossary

Electromagnetic spectrum

The range of energies or radiation that includes gamma rays, X rays, Ultra Violet, visible, infrared and radio waves.  Lasers and intense light systems typically emit beams in the infrared, visible or Ultra Violet part of the Electromagnetic spectrum, collectively known as 'optical radiation'.

* *

Equipment variables

An element, feature or control that can vary and adjust the functional ability.

* *

Intense light sources

Also known as Intense Pulsed Light. A

*

*flash lamp, (typically Xenon) system generating broad spectrum, incoherent light. Filters remove unwanted wavelengths and transmit only those needed for treatment. Intense light sources are used to target a range of chromophores depending upon the filters used.

Laser

Light Amplification by the Stimulated Emission of Radiation. The beam from a laser is typically described as monochromatic, coherent and low divergence.

Laser/light controlled area

A controlled area around the laser/light device where people may be present within which hazards may arise and in which specific protective control measures are required.

High intensity Light Emitting Diodes

Light emitting diodes produce broad spectrum, incoherent light from semi -conductor materials (diodes) when electrical current is passed through them.  They are not the same as diode lasers. Aesthetic light emitting diodes can produce high intensity electromagnetic radiation with a light source that delivers an output over 500 milliwatt similar to that of a class 4 Laser or Intense Pulse Light.

Treatment protocol

A plan, that sets out a device and treatment indication specific protocol, identifying pre-treatment checks and tests, the manner in which the procedure is to be applied, acceptable variations, settings used, the expected outcome and when to modify or abort the treatment.

Developed by

SkillsActive

Version Number

1

Date Approved

04 Mar 2019

Indicative Review Date

31 Jan 2021

Validity

Current

Status

Original

Originating Organisation

SkillsActive

Original URN

SKABT28

Relevant Occupations

Beauty Therapy

Suite

Beauty Aesthetics, Trichology

Keywords

skin specialist, laser, intense pulse light, IPL, intense light sources, ILS, LED, energy based devices, light emitting diodes, skin rejuvenation, non-medical practitioners, medical practitioners