| COGPEM48 Inspect mechanical plant and equipment |  |
| --- | --- |

Overview

This standard is about your competence in completing checks on Mechanical plant and equipment. You will be required to complete the checks following your company procedures. The checks may be routine or non routine in nature. To record the results you will follow company procedures and your organisation's safe working practices at all times and working within the work permit procedures.

This standard deals with the following:

1 Inspect mechanical plant and equipment

During this work you must take account of the relevant installation procedures and safe working practices AS THEY APPLY TO YOU.

Performance criteria

You must be able to:

P1 work safely at all times, complying with health and safety and other relevant regulations and guidelines

P2 follow the correct specification for the product or equipment being inspected

P3 use the correct equipment to carry out the inspection

P4 identify and confirm the inspection checks to be made and acceptance criteria to be used

P5 carry out all required inspections as specified

P6 identify any defects or variations from the specification

P7 record the results of the inspection in the appropriate format

P8 deal promptly and effectively with problems within your control and report those that cannot be solved

Knowledge and understanding

You need to know and understand:

K1 you must have a working knowledge and understanding of what your responsibilities are in respect of Health, Safety and Environment. This should include the limits of your personal responsibility, your legal responsibility for your own health and safety and the health and safety of others

K2 you must have a working knowledge of the relevant regulations and the safe working practices and procedures required within your work area

K3 you must have a working knowledge and understanding of the engineering drawings and related specifications to which you will be expected to work. This will include technical drawings (component, assembly, general arrangements, isometrics 1st and 3rd angle projections) method statements, product worksheets and tolerances

K4 you must have a working knowledge and understanding of the inspection methods and techniques that are approved by the company

K5 you must have a working knowledge and understanding of calibration of equipment and authorisation procedures that are approved by the company. Tthis should include the procedure for recertification and how to interpret the calibration certificate

K6 you must have a working knowledge and understanding of the inspection equipment care and control procedures that are approved by the company. This should include storage, both in situ and transit, and the checking of calibration certificates

K7 you must have a working knowledge and understanding for the identification of defects in products, equipment or systems. This should include what the typical defects are that arise and how to identify them, typical examples are: weathering, wear and tear, corrosion

K8 you must have a working knowledge and understanding of the quality control systems and documentation procedures. This should include how defects and variations should be dealt with and what factors determine the actions to be taken, and why it is important to maintain records of the checks made and the assessments that result from those checks, what information should be entered on those records and where they should be kept

K9 you must have a working knowledge and understanding of the reporting lines and procedures in your working environment

Scope/range related to performance criteria

1 The level and extent of responsibility extends to selecting and modifying methods at your discretion to optimise the effectiveness of the monitoring and assessment undertaken in the conditions applying. In some cases, you may still be expected to refer to others for final authorisations, even though you remain responsible for identifying and implementing decisions

2 The type of products to be inspected involves multiple technology or is of a single technology interacting with other assets in a dynamic manner. Typical plant and equipment could be:

2.1 Rotating equipment and tools

2.2 Protection methods

2.3 Electrical distribution systems

3 The aspects, characteristics and complexity of checks are as set down in manufacturers' guidelines and procedures and will include ensuring compliance with relevant international standards, equipment manufacturer specifications, HSE, company procedures, the Electricity at Work regulations and BS 7671. The type of checks made will depend on the engineering process carried out which may include:

3.1 Dismantling

3.2 Assembly

3.3 Positioning and installation

3.4 Repair of components

3.5 Removal and replacement of components

3.6 Adjustment

3.7 Planned Maintenance Activities testing

4 The inspection methods and techniques and type of equipment to be used are as set out in internal QA and QC procedures.

5 The quality standards and accuracy to be achieved are as set down in work specifications.

Scope/range related to knowledge and understanding

The Knowledge and Understanding levels expressed indicate the minimum level of knowledge and understanding sufficient to perform your role in a manner that would normally be associated with the minimum acceptable performance of a competent person undertaking your role.

The expression ”working knowledge and understanding” indicates you are

able to:

1 Identify and apply relevant information, procedures and practices to your usual role in your expected working environments needing only occasional recourse to reference materials

2 Describe, in your own words, the principles underlying your working methods. This does not mean the ability to quote “Chapter and verse”. Rather you must know what supporting information is available, how and where to find it and from whom to seek further guidance and information confirm any additional required detail

3 Interpret and apply the information obtained to your role, your working practice and in your expected working environment

Developed by

Cogent

Version Number

2

Date Approved

27 Mar 2018

Indicative Review Date

27 Mar 2022

Validity

Current

Status

Original

Originating Organisation

Cogent

Original URN

ESC 6.06

Relevant Occupations

Engineering and Manufacturing Technologies, Engineering Professionals, Manufacturing Technologies

Suite

Process Engineering Maintenance

Keywords

inspect, procedures, complete, checks, mechanical, plant, equipment