| COGPEM69 Prepare materials required for maintaining instrument and control systems |  |
| --- | --- |

Overview

This standard is about your competence in preparing the materials in order to carry

out the maintenance of instrument and control systems. You will be required to check the quality and quantity of the materials, determine

how the materials should be prepared and report on completion. You will be following your organisation's safe working practices and working within the work permit procedures.

This standard deals with the following:

1. Prepare materials required for maintaining instrument and control systems

During this work you must take account of the relevant worksite operational requirements, procedures and safe working practices AS THEY APPLY TO YOU.

Performance criteria

You must be able to:

P1 work safely at all times, complying with health and safety and other relevant regulations and guidelines

P2 obtain the required materials and check them for quantity and quality

P3 determine how the materials need to be prepared

P4 carry out the preparations using suitable equipment

P5 report completion of preparations in line with organisational procedures

P6 deal promptly and effectively with problems within your control and report those that cannot be solved

Knowledge and understanding

You need to know and understand:

K1 you must have a working knowledge and understanding of what your responsibilities are in respect of Health, Safety and Environment. This should include the limits of your personal responsibility, your legal responsibility for your own health and safety and the health and safety of others

K2 you must have a working knowledge of the relevant regulations and the safe working practices and procedures required within your work area

K3 you must have a working knowledge and understanding of how to identify the materials you are to use and recognise defects in the quality of them

K4 you must have a working knowledge and understanding of the types of handling and preparation methods and techniques needed for different materials

K5 you must have a working knowledge and understanding of what your responsibilities are for ensuring the security of the tools and equipment and their control procedures that you use. This could be expected to include: ingress protection rating, portable appliance testing, heating and ventilation, explosion protection rating equipment, corrosion, Permit System

K6 you must have a working knowledge and understanding of your responsibilities with regard to the reporting lines and procedures in your working environment

Scope/range related to performance criteria

1 The level and extent of responsibility will involve you being responsible for ensuring the preparations are carried out safely by following company defined procedures. You will be accountable for the integrity of the work and ensuring the work is recorded in a formal manner. Authorisation for proceeding with the work will be given by authorized signatories within the PTW system

2 The type and complexity of material preparations involve standard treatments and/or require taking instrument readings for analysis. Typical preparation could include:

2.1 Identification

2.2 Storage

2.3 Confirming alignment

2.4 Setting out

2.5 Cleaning

2.6 Protecting/preserving

2.7 Security

2.8 Precision measuring

2.9 Checking quality and quantity

2.10 Asset/product orientation

3 The types of materials could include materials and/or components used in the engineering activity, including:

3.1 Proprietary items (repair by replacement)

3.2 Spare Parts

Scope/range related to knowledge and understanding

The Knowledge and Understanding levels expressed indicate the minimum level of knowledge and understanding sufficient to perform your role in a manner that would normally be associated with the minimum acceptable performance of a competent person undertaking your role.

The expression ”working knowledge and understanding” indicates you are able to:

1 Identify and apply relevant information, procedures and practices to your usual role in your expected working environments needing only occasional recourse to reference materials

2 Describe, in your own words, the principles underlying your working methods. This does not mean the ability to quote “Chapter and verse”. Rather you must know what supporting information is available, how and where to find it and from whom to seek further guidance and information confirm any additional required detail

3 Interpret and apply the information obtained to your role, your working practice and in your expected working environment

Developed by

Cogent

Version Number

2

Date Approved

27 Mar 2018

Indicative Review Date

27 Mar 2022

Validity

Current

Status

Tailored

Originating Organisation

Cogent

Original URN

I 3.5

Relevant Occupations

Engineering and Manufacturing Technologies, Engineering Professionals, Manufacturing Technologies

Suite

Process Engineering Maintenance

Keywords

prepare, materials, maintenance, instrument, control, systems, procedures