| EUS GNC011 Joint Materials by Butt Fusion Processes in Non Routine Operations for Gas Network Construction |  |
| --- | --- |

Overview

​

This national occupational standard defines the

competence required to joint materials for non routine operations by butt fusion, using non-automatic and automatic machines, on parent materials with the same SDR rating, and polymer type.

The jointing process may be carried out in all weather conditions in accordance with industry standards and specifications.

This standard is for those responsible for managing field operations during gas network construction activities. These activities will usually include the leadership and direction of the members of a team and decision making regarding the approach to take when undertaking the work.

This unit consists of three elements:

- prepare and make joints using butt fusion techniques

- use and communicate data and information

- resolve problems which arise from jointing materials

Performance criteria

You must be able to:

​

Make joints using Butt Fusion techniques**

1.         work safely and ensure compliance with health, safety, environment and other regulations and guidelines

2.         carry out site specific risk assessment, and review in accordance with company procedures

3.         select, check and wear the designated personal protective equipment (PPE)

4.         follow the job instructions and procedures accurately for preparing and making joints

5.         check and confirm joint preparation complies with the specification and meets quality requirements.

6.         check that jointing and related equipment and consumables are as specified and fit for purpose

7.         provide adequate weather protection during the entire jointing cycle.

8.         carry out and monitor the machine operations in accordance with specifications and job instructions

9.         make butt joints of the required quality and specified dimensional accuracy

10.      de-bead and carry out approved quality assurance test on bead

11.      ensure joint and bead are identifiable by marking in accordance with company procedures

12.      shut down the equipment to a safe condition on completion of jointing activities

13.      follow approved and agreed procedures to manage excess and waste materials and temporary attachments.

Use and communicate data and information

14.  follow all approved procedures and practices and statutory and regulatory involved in the work activity

15.  check with designated personnel any circumstances where information appears incorrect

16.  use organisational information systems to record and store jointing data and information

17.   follow all approved operational and organisational procedures for lone working

Resolve problems which arise during jointing materials

18.  report promptly to the designated person damage or defects to tools, equipment or materials

19.  resolve day to day problems within the responsibility of the job role

20.  refer matters outside the responsibility of the job role to the designated people using approved procedures

21.  follow approved emergency procedures immediately in the event of an emergency situation

Knowledge and understanding

You need to know and understand:

​

General**

1.          the main responsibilities of the employer and employee under the Health and Safety at Work Act

2.          the main responsibilities of the employer and employee under environmental legislation

3.          the company reporting lines, roles, responsibilities and levels of authority

4.          the safe procedures for handling hazardous materials

5.          organisational accident recording and reporting procedures

6.          the range and use of personal protective equipment for the work

Butt Fusion Jointing

7.          health, safety and environment legislation and environmental procedures relevant to the work activities

8.          manual handling procedures

9.          industry codes of practice and company procedures.

10.       why only pipes of similar specifications can be joined together

11.       how to interpret engineering specifications relevant to the engineering activity

12.       different stages that take place during the jointing process and the importance of allowing each phase to complete

13.       the need for pipe support and alignment including the consequences of poor support and misalignment

14.       different densities of pipe materials and their implications

15.       the different types of pipe material used and their compatibility for jointing

16.       the cause and potential effects of defects and contamination

17.       maintenance procedures, equipment calibration, consequences of poor maintenance

18.       different quality assurance procedures that can be applied in recognising defects including non-destructive and destructive testing

19.   how to produce fusion performance reports

Developed by

Energy & Utility Skills

Version Number

2

Date Approved

01 Dec 2017

Indicative Review Date

01 Dec 2021

Validity

Current

Status

Original

Originating Organisation

Energy & Utility Skills

Original URN

EUS GNC011

Relevant Occupations

Gas Team Leaders, Craftspersons and Technicians

Suite

Gas Network Construction

Keywords

gas, network, gas network, butt fusion, jointing