| EUSWNC10L Restore water network components to operational condition LEGACY |  |
| --- | --- |

Overview

This Standard is about restoring water network components to operational condition. This includes the repair and replacement of short sections of mains and fitting temporary or permanent external mechanical fittings on mains or services.

This involves preparing to restore components, carrying out repair or replacement within agreed timescales using approved materials in accordance with company procedures.

This Standard is for water network construction operatives who restore water network components to operational condition.

Performance criteria

You must be able to:

- work in accordance with health and safety, environment and hygiene regulations and legislation

- carry out site specific risk assessment, and review in accordance with company procedures

- select and wear the designated personal protection equipment (PPE)

- repair or replace components in accordance with relevant specifications and work instructions

- prepare components for repair or replacement

- carry out repair or replacement to agreed timescale

- use approved materials and components for repairs or replacements

- make sure that repaired or replaced components meet specified operating conditions and parameters

- carry out all work in accordance with company procedures

- produce accurate and complete records of all work carried out

- deal with problems within your control

- refer problems and conditions outside your responsibility or which you cannot solve to appropriate people

- deal with any emergencies that may arise in line with approved procedures

Knowledge and understanding

You need to know and understand:

- relevant health, safety and environment legislation, procedures and codes of practice including those governing work in excavations, hazardous materials, accidents and personal protective equipment (PPE)

- the importance of following all hygiene procedures

- how to interpret relevant drawings, plans and specifications

- the various components in use on the water network

- how to repair joints, horizontal and circumferential cracks and breaks, corrosion and interference damage and when replacement is necessary

- how to repair or replace metallic and non-metallic pipes and fittings

- techniques to use to repair components

- component replacement methods for mains and services

- the types of tools and equipment to be used when restoring components to operating condition

- the care and control procedures to be used to ensure compliance with hygiene regulations

- the different types of records and documentation used to record

Developed by

Energy & Utility Skills

Version Number

2

Date Approved

01 Dec 2018

Indicative Review Date

01 Dec 2021

Validity

Legacy

Status

Original

Originating Organisation

Energy and Utility Skills

Original URN

EUSNCO216

Relevant Occupations

Engineering, Water Network Construction Operative, Water Network Construction Supervisor

Suite

Water Network Construction Operations, Multi-Utility Network Construction Operations

Keywords

water, network, operations, utility, utilities