| EUSWNC12L Joint materials by mechanical means on water networks LEGACY |  |
| --- | --- |

Overview

This Standard is about jointing materials by mechanical means on water networks.  Jointing can be carried out on metallic materials or for transition between metallic and polyethylene.

This includes assembling and positioning pipes and fittings, using mechanical jointing techniques, securing components and checking finished work meets codes of practice and specifications.

This Standard is for anyone in water network construction who carries out mechanical jointing.

Performance criteria

You must be able to:

- work in line with health, safety and environment requirements and legislation at all times

- carry out and review site specific risk assessments in accordance with company procedures

- select and wear designated personal protective equipment (PPE)

- use information from reliable sources to identify work requirements

- check any information that appears incorrect with appropriate people

- assemble and position components in line with assembly drawings and work instructions

- make sure that components meet manufacturers’ specifications

- use jointing techniques that are appropriate for the materials being joined

- carry out jointing in accordance with company procedures

- secure components using connectors and securing devices in accordance with component specifications and work instructions

- make sure finished assemblies are complete and meet their operating requirements

- record and store relevant data and information in organisational information systems

- resolve problems within the limits of your responsibility

- report problems you cannot resolve to appropriate people

Knowledge and understanding

You need to know and understand:

- legislation, procedures and codes of practice relating to health, safety and the environment including manual handling, use of equipment, hazardous materials,  work in excavations, risk assessments, lone working, accidents and personal protective equipment

- the range and use of personal protective equipment for your work

- the need for hygiene and health checks

- how to read and interpret basic drawings and specifications

- methods and techniques for assembling and jointing components by mechanical means

- the purpose of quality control procedures and how to read and interpret them

- how to select preparation techniques for mechanical jointing activities

- the tools, equipment and handling equipment required for mechanical jointing

- the importance of looking after tools and equipment and how to do so

- assembly methods and techniques including cutting, threading, and mechanical jointing on metallic materials

- using mechanical fittings for transition jointing between metallic and polyethylene

- procedures for dealing with problems

- who to report to and when

- information and data storage systems

Developed by

Energy & Utility Skills

Version Number

2

Date Approved

01 Dec 2018

Indicative Review Date

01 Dec 2021

Validity

Legacy

Status

Original

Originating Organisation

Energy and Utility Skills

Original URN

EUSNCO219

Relevant Occupations

Engineering, Water Network Construction Operative, Water Network Construction Supervisor

Suite

Water Network Construction Operations, Multi-Utility Network Construction Operations

Keywords

joint, mechanical, utility, utilities, network construction, water