| COGST1-16 Receiving, sorting, transporting and storing samples in life sciences and related industries |  |
| --- | --- |

Overview

This standard is about receiving, sorting, transporting and storing

specimens/samples in a laboratory, in accordance with approved procedures and

practices. You will be expected to follow the company procedures ensuring that all

labelling is correct, that all requirements of any laboratory information system are

adhered to and that samples are stored and transported in the correct way.

Ensuring that samples for analysis are handled correctly is essential. Any mistakes

prior to analysis are likely to render subsequent results invalid. Adherence to correct

procedures for labelling, storing and transporting samples will ensure that results are

valid.

You will be expected to accept responsibility for your actions ensuring that all

procedures are followed. You are not expected to have responsibility for developing

or managing the system.

Who this standard is for

The standard is recommended for all staff, but particularly new recruits and

junior employers.

Performance criteria

You must be able to:

P1 ensure that your work is carried out in accordance with workplace procedures

P2 confirm that specimens/samples received are in the correct

packaging/container and are labelled accurately

P3 correctly unpack, label, prepare and sort specimens/samples ready for analysis

P4 prepare samples or specimens for storage, transport or any other required

processing

P5 process all necessary documentation

P6 identify and deal with any samples or specimens that required special handling

or processing

P7 ensure that all samples are stored and/or transported according to the laid

down procedures

P8 communicate the required information to authorised people according to

company procedures

Knowledge and understanding

You need to know and understand:

K1 the health and safety requirements of the area in which you are carrying out

the activities

K2 the formal lines of communication open to you

K3 the organisational structure and lines of accountability within company

K4 the legal and regulatory frameworks within which you are working and the

implications of failing to comply with either

K5 the correct procedures for the work you are carrying out

K6 the sample/specimen handling system for your

organisation

K7 the sample information system in use in the organisation

and why it is important that it is followed

K8 the range of hazard labels used on specimens/samples

and what each label means

K9 the analytical procedures that the samples will undergo and any special

handling or preparation that needs to be done

K10 the procedures to be followed if non-standard, or damaged samples are

received

K11 the factors that might adversely affect the integrity of the specimen/sample

K12 the limits or your authority and to whom you should report to if you have

problems you cannot resolve

K13 the control of substances hazardous to health (COSHH) regulations, and their

application in the workplace (such as chemicals, radioactive substances and

biological material)

Developed by

Cogent

Date Approved

01 Nov 2023

Indicative Review Date

01 Nov 2027

Validity

Current

Status

Original

Original URN

COGLS209

Relevant Occupations

Associate Professionals and Technical Occupations, Professional Occupations, Science, Science and Engineering Technicians, Science Professionals

Suite

Scientific Technology Suite 1

Keywords

Samples; handling; sorting safety; transporting