| COSVR157 Dismantle and/or demolish timber structures |  |
| --- | --- |

Overview

This standard is about dismantling and/or demolishing timber, timber-framed structures and roof components using demolition tools and equipment, interpreting information, adopting safe, healthy and environmentally responsible work practices, maintaining established exclusion zones, selecting and using materials, components, tools and equipment

This standard is for people working in the occupational area of demolition and can be used by operatives, supervisors and managers

Performance criteria

You must be able to:

P1     interpret the given information relating to the work and resources to confirm its relevance

P2     comply with the given, relevant legislation and official guidance to carry out your work and maintain safe and healthy work practices

P3     select the required quantity and quality of resources for the methods of work

P4     comply with organisational procedures to minimise the risk of damage to the work and surrounding area

P5     comply with the given contract information to carry out the work efficiently to the required specification

P6           complete the work within the allocated time, in accordance with the programme of work

Knowledge and understanding

You need to know and understand:

​

Scope/range related to performance criteria

Performance Criteria 1

1      interpretation of drawings, specifications, schedules, method statements, risk assessments, permits to work, manufacturers' information and organisational requirements related to the work to be carried out

Performance Criteria 2

2      avoidance of risk by complying with the given information relating to the following

2.1     methods of work

2.2     safe use of health and safety control equipment

2.3     safe use of access equipment

2.4     safe use, segregation, storage and handling of materials, tools and equipment

2.5     specific risks to health

Performance Criteria 3

3      selection of resources associated with own work

3.1     materials and components

3.2     demolition tools, equipment and consumables

3.3     waste and/or recycling containers

Performance Criteria 4

4      protection of the work and its surrounding area from damage

5      maintain a clear and tidy work space

6      disposal of waste in accordance with current legislation

Performance Criteria 5

7      demonstration of work skills to release, handle, lower, segregate and load

8      use and maintain demolition tools, equipment and consumables

9      maintain established exclusion zones, dismantle and/or demolish, remove and segregate timber, timber-framed structures and components for disposal and/or recycling and/or recovery to given working instructions

Performance Criteria 6

10    completion of own work within the estimated, allocated time to meet the needs of other occupations and/or client

Scope/range related to knowledge and understanding

Disposal of waste (arisings and debris)

1       environmental responsibilities, organisational procedures, manufacturers' information, statutory regulations and official guidance relating to segregation and recycling procedures

Emergencies

2       operative's response to situations in accordance with organisational authorisation and personal skills when involved with

2.1    fires, spillages, injuries

2.2    emergencies relating to occupational activities

Fire extinguishers

3       water, CO

2

, foam, powder and their uses

Hazards

4       those identified by risk assessment, methods of work, manufacturers' technical information, statutory regulations and official guidance

Health and safety control equipment

5       identified by the principles of prevention for occupational use, types and purpose of each type, work situations and general work environment

5.1    collective protective measures

5.2    personal protective equipment (PPE)

5.3    respiratory protective equipment (RPE)

5.4    local exhaust ventilation (LEV)

Information

6       drawings, specifications, schedules, method statements, risk assessments, site inductions, tool box talks, manufacturers' information, electronic data, official guidance and current regulations associated with dismantling and demolishing timber structures

Legislation and official guidance

7       this relates to the operative's responsibilities regarding potential accidents, health hazards and the environment whilst working in the workplace, below ground level, in confined spaces, at height, with tools and equipment, with materials and substances, with movement and storage of materials by manual handling and mechanical lifting

Maintenance

8       operative checks and care of demolition tools, equipment and consumables

Methods of work

9       application of knowledge for safe and healthy work practices, procedures and skills relating to the method and area of work and materials used to

9.1    erect barriers and warning notices

9.2    maintain established exclusion zones and designated areas

9.3    dismantle and demolish timber, timber-framed structures and components

9.4    remove and segregate components and materials for recycling, recovery and disposal

9.5    store and protect removed materials and components

9.6    provide information for Building Information Modelling (BIM)

9.7    recognise and determine when specialist skills and knowledge are required and report accordingly

9.8    determine specific requirements for structures of special interest, traditional build (pre 1919) and historical significance

9.9    work with, around and in close proximity to plant and machinery

9.10  direct and guide the operations and movement of plant and machinery

9.11  use demolition tools, equipment and consumables

9.12  work at height

9.13  use access equipment

10     how to ensure effective team work and communication

11     needs of other occupations associated with dismantling and demolishing timber structures

Problems

12     those arising from information, resources and methods of work

12.1  own authority to rectify

12.2  organisational reporting procedures

Programme

13     types of productivity targets and time scales

14     how times are estimated

15     organisational procedures for reporting circumstances which will affect the work programme

Protect work

16     protect work against damage from general workplace activities, other occupations and adverse weather conditions

Resources

17     materials, components, tools and equipment relating to types, quantity, quality, sizes and the sustainability of standard and specialist

17.1  demolition tools, equipment and consumables

17.2  waste and recycling containers

18      confirm resources and materials conform with the specification

19      methods of calculating quantity, length, area and wastage associated with the method and procedure to dismantle and demolish timber structures

Security procedures

20     project, site, workplace, company and operative, vehicles, tools and plant

Developed by

Construction Skills

Version Number

3

Date Approved

28 Feb 2020

Indicative Review Date

28 Feb 2025

Validity

Current

Status

Original

Originating Organisation

CITB

Original URN

VR157

Relevant Occupations

Construction Operatives

Suite

Demolition (Construction)

Keywords

Waste materials; Disposal; Recycle