| COGST2-09 Carry out small scale processing |  |
| --- | --- |

Overview

This standard covers the competences you need to carry

out small scale processing in a science related work activity

in accordance with approved procedures and practices.

You will be required to demonstrate that you can select and

produce appropriate small quantities required against

specification in accordance with the relevant workplace

procedures.

The activity is likely to be undertaken by someone in a

science related work setting, including individuals working

in hospitals, scientific laboratories, schools and universities.

Performance criteria

You must be able to:

P1 ensure that your work is carried out in accordance with

workplace procedures

P2 use safe practices and the appropriate personal

protection equipment (PPE) when performing scientific or

technical activities

P3 set the conditions for small scale processing and take

the appropriate action to maintain them

P4 confirm the calibration status of equipment and prepare

it correctly for the processing operation

P5 produce small scale quantities required against

specification

P6 maintain the specified controlled conditions for

processing and record required information

P7 take specified action in the event of abnormal

occurrences and report them to the relevant people

P8 communicate the required information about the work

done, in accordance with departmental and organisational

procedures

Knowledge and understanding

You need to know and understand:

K1 the health and safety requirements of the area in which

you are carrying out the scientific or technical activities

K2 the implications of not taking account of legislation,

regulations, standards and guidelines when conducting

scientific or technical activities

K3 the scientific or technical techniques and processes you

must use correctly in the workplace

K4 the importance of wearing protective clothing, gloves

and eye protection for scientific or technical activities

K5 the importance of correct identification, and any unique

workplace coding system

K6 the organisational requirements for maintaining the

security of the workplace

K7 the lines of communication and responsibilities in your

department, and their links with the rest of the organisation

K8 the limits of your own authority and to whom you should

report if you have problems that you cannot resolve

K9 the principles and procedures for small scale processing

K10 the essential features of a process plan and how to

follow it

K11 how to source and access relevant standards

K12 the operating conditions that are necessary to conduct

the small scale processing, and how to maintain them

K13 why it is important to follow set procedures

K14 the range of equipment used for small scale

processing

K15 why it is important to follow the correct data recording

and reporting procedures

K16 the methods that can be used for dealing with the

handling, storage and disposal of materials

K17 the cleaning materials and methods that should be

used

K18 the range of resources needed for small scale

processing

K19 the reporting procedure in the event of deviations from

processing plans

K20 the document control and reporting procedures that

should be used

K21 the reasons why effective communication is important,

and the methods used for communicating effectively

Scope/range

- produce small scale processing qualifies for one of the

- following:

- 1.1 testing the viability of a proposed large-scale

- manufacturing method

- 1.2 meeting a customer's requirements for a specialist

- product not required in any great quantity

- 1.3 producing small quantities of products to be used in

- sampling

- 1.4 testing or other investigations such as reference

- standards or design evaluation

- maintain two of the following controlled conditions during

- processing:

- 2.1 health and safety

- 2.2 allotted time

- 2.3 cleanliness & hygiene

- 2.4 environment

- 2.5 recording systems

- record all of the following processing information:

- 3.1 sample identification

- 3.2 results of small scale processing

- 3.3 calculations and data

- 3.4 conditions of in-process test

- record and communicate details of work done, to the

- appropriate people, using:

- 4.1 verbal report plus one method from the following:

- 4.2 written or typed report

- 4.3 computer-based record

- 4.4 specific workplace documentation

- 4.5 electronic mail

Developed by

Cogent

Date Approved

01 Nov 2023

Indicative Review Date

01 Nov 2027

Validity

Current

Status

Original

Original URN

COGLATA3-10

Relevant Occupations

Professional Occupations, Science, Science and Mathematics Science, Science Professionals

Suite

Scientific Technology Suite 2

Keywords

laboratory, technical, LATA, processing, testing, viability, cleanliness & hygiene, sample identification, calculations and data