| COGST3-09 Plan and conduct scientific or technical investigations |  |
| --- | --- |

Overview

This standard covers the competence you will need to plan

and conduct scientific or technical investigations in

accordance with approved procedures and practices.

You will be required to demonstrate that you can identify,

selected and used appropriate business and scientific or

technical methods and skills. You will show you have

initiated and used appropriate investigation to inform your

actions in accordance with workplace procedures.

The activity is likely to be undertaken by someone in a

science related work setting, including individuals working

in hospitals, scientific laboratories, schools and universities.

Performance criteria

You must be able to:

P1 ensure that your work is carried out in accordance with

workplace procedures

P2 use safe practices and the appropriate personal

protection equipment (PPE) where scientific or technical

activities are performed

P3 identify and agree the business and scientific or

technical requirements of your role in the workplace

P4 establish processes that deliver scientific or technical

outcomes based on organisational goals and aims

P5 identify the objective of the investigation

P6 obtain and collate appropriate information which assists

the investigation

P7 analyse the information correctly and evaluate it against

the objective of the investigation

P8 identify the conditions under which investigations can

take place

P9 evaluate the alternative investigative techniques and

select the appropriate technique

P10 prioritise the tasks within the investigation and identify

appropriate procedures

P11 quantify the resource requirements for the

investigations and ensure that they are within the capability

of the organisation

P12 set procedures in place to deal with contingencies

arising during investigations

P13 conduct investigations in accordance with the

established plans

P14 present the results of the work done to the appropriate

people, in accordance with departmental and organisational procedures

Knowledge and understanding

You need to know and understand:

K1 the health and safety requirements of the area in which

you are carrying out the scientific or technical activities

K2 the implications of not taking account of legislation,

regulations, standards and guidelines when conducting

scientific or technical activities

K3 the scientific or technical techniques and processes you

must use correctly in the workplace

K4 the importance of wearing protective clothing, gloves

and eye protection for scientific or technical activities

K5 the importance of correct identification, and any unique

workplace coding system

K6 the organisational requirements for maintaining the

security of the workplace and keeping confidential

documents

K7 the workplace business aims and goals and the

planning process

K8 the workplace organisational structure, its values and

culture

K9 how your scientific or technical activities add value

through delivering workplace products, services and

processes

K10 the lines of communication and responsibilities in your

department, and the links with the rest of the organisation

K11 the limits of your own authority and to whom you

should report if you have problems that you cannot resolve

You need to know and understand

K12 how to identify and assess the scientific or technical

requirements of your work roles

K13 the different ways in which you are set your agreed

personal work objectives

K14 the different perspectives and approaches that are

important when exercising autonomy or judgement about

scientific or technical activities used

K15 the types of investigation initiated and used to review

the effectiveness or appropriateness of methods, action

and results of your scientific or technical work

K16 the principles and procedures for scientific or technical

investigations

K17 the techniques that are relevant to the investigation

K18 how to set objectives taking account of capabilities and

available resources

K19 how to source and access relevant standards

K20 the acceptable operating conditions for conducting

investigations

K21 the implications of deviations from set procedures

K22 how to identify customer requirements

K23 the essential features of an investigation plan and how

to initiate it

K24 how to identify the most appropriate equipment for

investigations

K25 the procedures for recording and reporting the

investigations done

K26 how to identify and deal with contingencies

K27 the limits and constraints for investigations that are

done

K28 the methods and processes used to deal with

deviations from investigation plans

K29 how to establish contingency plans for deviations from

investigation plans

Scope/range

- conduct investigations into one of the following:

- 1.1 a non-compliance problem

- 1.2 the properties of a new material

- 1.3 applications of a new material

- 1.4 identifying a substance

- 1.5 resolution technical problem

- 1.6 cost reduction programme

- 1.7 quality assurance review

- 1.8 hazard/accident

- evaluate information from two of the following sources

- 2.1 new external standards/regulations

- 2.2 manufacturer's instructions

- 2.3 equipment technical reviews

- 2.4 material technical reviews

- 2.5 COSHH data sheets

- 2.6 environmental reports

- 2.7 workplace records archives

- 2.8 operating procedures

- 2.9 test/technical reports

- 2.10 accident reports

- 2.11 health and safety documentation

- specify resources requirements against two of the

- following parameters

- 3.1 staff

- 3.2 equipment

- 3.3 materials/chemical

- 3.4 time

- evaluate capability requirements for investigations that

- require all of the following:

- 4.1 techniques

- 4.2 technical expertise

- 4.3 available time

- 4.4 resources

- establish contingencies for two of the following:

- 5.1 equipment failure

- 5.2 changes in variables

- 5.3 delays

- 5.4 safety/environmental change

- record and communicate details of the work done, to the

- appropriate people, using:

- 6.1 verbal report plus one method from the following:

- 6.2 written or typed report

- 6.3 computer-based record

- 6.4 specific workplace documentation

- 6.5 electronic mail

Developed by

Cogent

Date Approved

01 Nov 2023

Indicative Review Date

01 Nov 2027

Validity

Current

Status

Original

Original URN

COGLATA4-10

Relevant Occupations

Professional Occupations, Science, Science and Mathematics Science, Science Professionals

Suite

Laboratory and Associated Technical Activities Suite 4 2010, Scientific Technology Suite 3

Keywords

laboratory, technical, LATA, conduct, scientific, investigations, resolution, resources, delays, health and safety