| COSVR250 Use access equipment up to six metres |  |
| --- | --- |

Overview

"​

This standard is about using, removing and storing access equipment used up to six metres for work operations, interpreting information, adopting safe, healthy and environmentally responsible work practices, selecting and using components, tools and equipment.

This standard is for people working in the occupational areas of most construction trades and can be used by operatives, supervisors and managers."

Performance criteria

You must be able to:

P1 interpret the given information relating to the work and resources to confirm its relevance

P2 comply with the given, relevant legislation and official guidance to carry out your work and maintain safe and healthy work practices

P3 select the required quantity and quality of resources for the methods of work

P4 comply with organisational procedures to minimise the risk of damage to the work and surrounding area

P5 comply with the given contract information to carry out the work efficiently to the required specification

P6 complete the work within the allocated time, in accordance with the programme of work

Knowledge and understanding

You need to know and understand:

Performance Criteria 1

Interpretation of information

K1 the organisational procedures developed to report and rectify inappropriate information and unsuitable resources, and how they are implemented

K2 the types of information, their source and how they are interpreted

K3 the organisational procedures to solve problems with the information and why it is important they are followed

Performance Criteria 2

Safe work practices

K4 current legislation and official guidance and how it is applied

K5 how emergencies should be responded to and who should respond

K6 the organisational security procedures for tools, equipment and personal belongings

K7 what the accident reporting procedures are and who is responsible for making the report

K8 why, when and how health and safety control equipment should be used

K9 how to comply with environmentally responsible work practices to meet current legislation and official guidance

Performance Criteria 3

Selection of resources

K10 the characteristics, quality, uses, sustainability, limitations and

defects associated with the resources and how defects should be rectified

K11 how the resources should be used and how any problems associated with the resources are reported

K12 the organisational procedures to select resources, why they have been developed and how they are used

K13 the hazards associated with the resources and methods of work and how they are overcome

Performance Criteria 4

Minimise the risk of damage

K14 how to protect work from damage and the purpose of protection

K15 why disposal of waste should be carried out safely and how it is achieved

Performance Criteria 5

Meet the contract specification

K16 how methods of work, to meet the specification, are carried out and problems reported

K17 how maintenance of tools and equipment is carried out

Performance Criteria 6

Allocated time

K18 what the programme is for the work to be carried out in the estimated, allocated time and why deadlines should be kept

Scope/range related to performance criteria

Performance Criteria 1

1 interpret plans, drawings and sketches, method statements, risk assessments, specifications and manufacturers' information related to the work to be carried out

Performance Criteria 2

2 avoid risk by following given information relating to:

2.1 methods of work

2.2 safe use of health and safety control equipment

2.3 safe use of access equipment

2.4 safe use, and storage and handling of materials, tools and equipment

2.5 specific risks to health

Performance Criteria 3

3 select resources associated with own work

3.1 materials and components

3.2 tools and equipment

Performance Criteria 4

4 protect the work and its surrounding area from damage

5 maintain a clear and tidy workspace

6 dispose of waste in accordance with current legislation

Performance Criteria 5

7 demonstrate work skills to move, position, erect, secure, check, and remove access equipment to meet the specification

8 use and maintain hand tools and ancillary equipment in accordance with manufacturer’s instructions

9 erect, use, remove and store at least two of the following access equipment to access regulations

9.1 ladders

9.2 stepladders/platform steps

9.3 proprietary towers

9.4 podiums

9.5 mobile scaffold towers

Performance Criteria 6

10 complete own work within the estimated, allocated time to meet the needs of other occupations or client

Scope/range related to knowledge and understanding

Disposal of waste

1 environmental responsibilities, organisational procedures, manufacturers’ information, statutory regulations and official guidance

Emergencies

2 operative's response to situations in accordance with organisational authorisation and personal skills when involved with:

2.1 fires, spillages, injuries

2.2 emergencies relating to occupational activities

Hazards

3 those identified by risk assessment, method of work, manufacturers’ technical information, statutory regulations and official guidance

Health and safety control equipment

4 identified by the principles of prevention for occupational use, types and purpose of each type, work situations and general work environment:

4.1 collective protective measures

4.2 local exhaust ventilation (LEV)

4.3 personal protective equipment (PPE)

4.4 respiratory protective equipment (RPE)

Information

5 plans, drawings and sketches, specifications, schedules, method

statements, risk assessments, manufacturers' technical information, regulations and official guidance associated related to the work to be carried out

Legislation and official guidance

6 responsibilities regarding potential accidents and health hazards and the environment whilst working in the workplace, below ground level, in confined spaces, at height, with tools and equipment, with materials and substances, with movement and storage of materials and by manual handling and mechanical lifting

Maintenance

7 operative care of hand tools, portable power tools, ancillary equipment and access equipment

Methods of work

8 application of knowledge for safe work practices, procedures and skills relating to the method, area of work and materials used to:

8.1 provide protection to the work area

8.2 establish a base for equipment

8.3 erect proprietary access equipment to manufacturer’s instructions suitable for the work

8.4 erect non-proprietary access equipment suitable for the work

8.5 place protective screens and notices

8.6 check and monitor equipment during the period of use

8.7 remove and store access equipment

8.8 work with, around and in close proximity to plant and machinery

8.9 use tools and equipment

8.10 work at height

8.11 use access equipment

9 the importance of teamwork and communication

10 needs of other occupations associated with the use of access

equipment

Problems

11 those arising from information, resources and methods of work

11.1 own authority to rectify

11.2 organisational reporting procedures

Programme

12 types of progress charts, timetables and estimated times

13 organisational procedures for reporting circumstances which will affect the work programme

Protect work

14 protect work against damage from general workplace activities, other occupations and adverse weather conditions

Resources

15 materials, components and equipment relating to types, quantity, quality, sizes and the sustainability of standard or specialist:

15.1 ladders

15.2 stepladders or platform steps

15.3 podiums

15.4 proprietary towers

15.5 mobile scaffold towers

15.6 protection equipment and notices

15.7 hand tools, portable power tools and ancillary equipment

16 methods of calculating quantity of equipment required for the method and procedure to use access equipment up to 6 metres

17 confirm resources and materials conform with the specification

Security procedures

18 site, workplace, company and operative, vehicles

Developed by

CITB

Version Number

4

Date Approved

10 May 2022

Indicative Review Date

09 May 2027

Validity

Current

Status

Original

Originating Organisation

CITB

Original URN

COSVR250

Relevant Occupations

Scaffolders, Stagers and Riggers

Suite

Accessing Operations and Rigging (Construction), Building Maintenance Multi-trades Repair and Refurbishment Operations, Fencing, Innovative/Modern Methods of Construction, Insulation and Building Treatments (Construction), Removal of Hazardous and Non-hazardous Waste (Construction), Roofing Occupations (Construction), Specialist Concrete Occupations (Construction), Specialist Installation Occupations (Construction), Thermal Insulation (Construction), Treework

Keywords

Ladders; Step-ladders; Platform steps; Proprietary towers; Podiums; Mobile scaffold towers; Proprietary staging; Protective-screens