| SKSPSFX3 Work in a safe and effective way in a workshop |  |
| --- | --- |

Overview

This standard is about working effectively, safely and complying with legal and regulatory requirements in a workshop environment. It will involve creating or upholding a safe workshop space that may be permanent or temporary, and maintaining the health and safety of yourself and the crew you work with at all times.

It also involves ensuring that the space is clean, organised and well managed in order to execute your work. This could also include setting up a dry hire space to be able to deliver the necessary work in an effective manner, including cleaning up and returning the area to its previous state.

This standard is for those who work in a workshop environment.

Performance criteria

You must be able to:

- confirm that the workshop space is secure and inaccessible to unauthorised people within your level of authority

- check that the working environment is safe and compliant with current legislation and regulations

- confirm equipment and materials are stored in the designated locations when not in use

- liaise with production personnel regarding risk assessment

- check and confirm that all utilities and appliances are fitted and used in a safe manner, compliant with health and safety legislation and regulations

- monitor and maintain safety documentation in the workshop in line with legislation and regulatory requirements

- ensure that all extraction systems are in place and operating in a safe, compliant manner

- confirm, by liaising with production, that appropriate levels of insurance are in place

- provide documentation about insurance when required

- check and confirm that equipment is maintained to required standards

- confirm that equipment maintenance records are complete and up to date, with test certificates provided

- provide appropriate waste disposal and recycling systems in line with current legislation, sustainability and environmental practice

- use Personal Protective Equipment (PPE) to ensure health and safety of self and others in the workshop

- record all aspects of risk assessment and risk management providing documentation as required

Knowledge and understanding

You need to know and understand:

- the importance of being familiar with the equipment within the work area

- the equipment that is safe for you to use within your role in the work area

- the location of utility supplies, their suitability and safety

- how to load and unload heavy equipment safely

- how to liaise with production regarding risk assessments and the impact they will have on the workshop space

- health and safety measures that apply when working in a workshop environment

- the legislation and regulatory requirements to comply with

- the electrical set up of the building and the impact that will have on the work carried out there

- the air, fume and dust extraction equipment in place in the workshop

- how to ensure the safe storage of materials in the workshop

- the assured security of the building to ensure inaccessibility to the general public at any time

- how to create safe work areas within the workshop space, such as trip hazards and barrier tape

- how to identify and store dangerous and hazardous substances correctly

- how to create and manage the workshop space and ensure that it remains clean and organised at all times

- who is responsible for maintaining the equipment and maintenance records

- the importance of using Personal Protective Equipment (PPE) in a workshop environment

- how to manage waste disposal and recycling in line with current legislation sustainability and environmental practice

- the different insurance requirements for temporary and permanent workshop spaces

- how to clarify what is covered within the production or company policy

- how your own and others actions contribute to the organisation of the workshop space

Developed by

ScreenSkills

Version Number

3

Date Approved

31 Mar 2024

Indicative Review Date

31 Mar 2027

Validity

Current

Status

Original

Originating Organisation

ScreenSkills

Original URN

SKSPSFX3

Relevant Occupations

Special Effects Trainee, Special Effects Technician, Special Effects Senior Technician, Special Effects Supervisor

Suite

Physical Special Effects

Keywords

physical special effects; design; plan; effects; workshop; production; health and safety; risk management; script breakdown; budget; sustainability; legislation;