| EUSMUNC2 Control delivery of utility network activities against operational plans and quality requirements |  |
| --- | --- |

Overview

This Standard is about controlling delivery of network activities against operational plans and quality requirements. It could apply to network construction operations for a single utility or in a multi-utility environment.

This includes communicating operational plans, checking equipment, materials, products and work to ensure they meet approved standards, identifying any non-compliance, suggesting corrective action and recording information for compliance with regulatory standards.

This standard is for those responsible for controlling delivery of utility network activities against operational plans and quality requirements in a single or multi utility environment.

Performance criteria

You must be able to:

- communicate operational plans and approved procedures and practices to appropriate people at appropriate times

- make sure the condition of tools, equipment and plant are checked against manufacturers’ specifications at appropriate intervals

- make sure materials and products meet specification and are appropriate for specified network activities

- check installation and construction methods and the use of materials at regular intervals for compliance with regulatory and organisational procedures

- identify work which fails to meet approved procedures and practices and suggest corrective action in line with organisational procedures

- identify and investigate non-compliance with regulatory requirements in line with organisational procedures

- record outcomes of non-compliance investigations in appropriate systems

- monitor ongoing non-compliance issues, recording failures to remedy unacceptable standards within a given time

- report non-compliance issues and actions to appropriate individuals and organisations

- monitor completion of milestones and activities against operational plans

- report any changes needing to be made to operational plans at any stage of network operations

- report completion of planned operations to appropriate people, identifying any variations to original plans

- Identify amendments that will improve organisational procedures and practices and record them in appropriate systems

- present suggestions for amendment to appropriate people at appropriate times

Knowledge and understanding

You need to know and understand:

- organisational processes for network activities for the utility(s) with which you are working

- the effect that work on other utilities has on your area of work

- quality standards and legal and statutory responsibilities relating to your work

- the content of operational plans including milestones and activities

- communication methods

- individuals and organisations who require specific information and when they require it

- where to obtain manufacturers' specifications for tools, equipment and plant

- appropriate materials and products for network activities for which you are responsible and the condition they should be in

- the importance of checking routines and methods

- how to assess installation and construction methods and the use of materials

- acceptable corrective action for sub-standard work

- recording systems for controlling compliance and delivery of network activities

- the importance of recording information for compliance with regulatory standards

- how to investigate non-compliance

- how to identify and deal with non-compliance

- how to present suggestions for amendment to others

Developed by

Energy & Utility Skills

Version Number

2

Date Approved

31 Mar 2024

Indicative Review Date

31 Mar 2027

Validity

Current

Status

Original

Originating Organisation

Energy & Utility Skills

Original URN

MUNC33

Relevant Occupations

Water Network Construction, Gas Network Construction, Multi Utility Network Construction

Suite

Drinking Water Supply Distribution, Multi-Utility Network Construction Operations, Utility Management

Keywords

utility, utilities, network, construction, water, gas, operations, gas, LPG, hydrogen, water, multi-utility, quality, plans, legal, statutory, recording, requirements, corrective, regulatory