| EUSSM008 Carry out installation or changing of electric meters and associated equipment |  |
| --- | --- |

Overview

This standard is about carrying out installation or changing single or 3- phase meters and associated equipment within the energy supply and use sector.

To meet this standard you will demonstrate you can:

• prepare the work area confirming it is in a safe condition to carry out the intended installation activities

• use the appropriate job specifications and instructions

• prepare and use approved tools, equipment and materials to install or change meters

• communicate effectively with all customers and members of the public.

This standard is suitable for craftspersons or technician working in the energy supply and use sector with responsibility for installing or changing meters.

Performance criteria

You must be able to:

- use organisational procedures and available information to identify the work location

- communicate the planned work activity to all affected parties in accordance with organisational policies and procedures

- select, inspect and wear relevant personal protective equipment for completing work activities in line with organisational procedures

- carry out a site-specific risk assessment of the work, identifying hazards and the required control measures

- carry out a pre-use inspection of the tools and equipment to be used, checking condition and service information in accordance with organisational procedures

- carry out pre and post installation tests and assessments in line with organisational procedures

- plan the work to be undertaken in line with the risk assessment

- apply control measures to ensure the work area is fit for purpose in line with the risk assessment

- check meter details and accurately record meter readings

- install or change the identified single or 3-phase meter and associated equipment using selected tools and equipment

- check the completed installation complies with work instructions and equipment specifications

- complete a report describing the required post activity documentation in line with organisational procedures

- handle and dispose of waste materials in accordance with legislative and organisational procedures

- communicate the technical requirements of the completed work activity to all affected parties and answer any technical queries

- store tools and equipment safely and securely, leaving the work area in a safe condition in accordance with organisational procedures

- report any problems outside your role responsibility to designated personnel in line with organisational procedures

- work safely at all times, complying with health and safety, environmental and other relevant regulations, directives and guidelines

Knowledge and understanding

You need to know and understand:

- the principles of health and safety in the workplace, environmental legislation and relevant regulations in relation to the work to be carried out

- the organisational safety rules, policies and procedures in relation to work on or near metering systems

- your organisation’s isolation and locking-off procedure relating to work on metering systems

- your organisation’s safety document procedures that apply to work on metering equipment and systems

- how to present and introduce yourself to customers

- the correct personal protective equipment for the work and how to select, inspect and use this

- how to carry out a risk assessment, identify hazards and assess risks of the site and proposed activity

- the hazards associated with working on or near electrical systems and equipment and how to deal with them

- the dangers of electricity, including

  - how electric shock can be received

  - direct contact

  - induced voltage, risk of arc flash

  - potential ignition of gas installations.

- how to change single and 3-phase meters and associated equipment using specified methods, processes and procedures

- how to carry out pre and post installation testing procedures

- the importance of checking meter details and recordings

- the importance of checking installation complies with manufacturers’ instructions and equipment specifications your organisation’s procedures for updating, reporting and recording information

- the importance of communicating the technical requirements of the work to all affected parties throughout the activity

- how to leave the work area secure and the importance of doing so

- how to handle and dispose of hazardous and non-hazardous waste materials in line with relevant regulations

Developed by

Energy & Utility Skills

Version Number

2

Date Approved

31 Mar 2024

Indicative Review Date

31 Mar 2027

Validity

Current

Status

Original

Originating Organisation

Energy & Utility Skills

Original URN

EUSSM008

Relevant Occupations

Engineering Installation Engineer, Engineering Technicians, Gas Team Leaders, Craftspersons and Technicians, Gas Engineer

Suite

Smart Metering

Keywords

smart, single meter, 3-phase meter, gas install, change