| PPLREEP05 Carry out preventative and corrective maintenance of traction cabling systems |  |
| --- | --- |

Overview

This standard is about undertaking preventative and corrective maintenance on traction cabling systems. The maintenance may be routine and could involve replacing, locating, diagnosing, restoring and testing earthing and bonding equipment.

The types of systems may include:

- Contact Systems (OLE, Conductor rails)

- Power Supply Equipment

Types of maintenance activities may include:

- Routine and preventative maintenance

- Replacement

- Faultfinding

- Restoration

- Testing

This may also include working on one or more electrical components associated with power supply systems. The types of activities will be both planned and unplanned but will generally be multi stage processes and any interference with other systems must be kept to a minimum. Where interference with other systems has to take place, you will ensure the correct approvals are obtained.

At all times you will be working to within the limits of your own responsibility and report any instances where the activities cannot be achieved to the relevant person(s), this may include following reporting, recording and escalating procedures.

Performance criteria

You must be able to:

P1 maintain safe working practices and comply with all relevant health and safety regulations, directives, and guidelines

P2 source and interpret the relevant maintenance schedules, specifications and instructions to carry out the required activities

P3 identify the systems to be maintained

P4 identify and analyse the activities to be undertaken

P5 carry out the activities within the limits of your own authority

P6 carry out the activities in the specified sequence and within organisational timescales, ensuring minimal interference with other systems and assets

P7 confirm that the systems are functioning as defined by the specification

P8 report any instances where the activities cannot be fully met or where there are identified defects and variations outside the planned schedule

P9 complete relevant maintenance records in line with your organisation’s procedures

P10 dispose of waste materials in line with your organisation’s procedures

Knowledge and understanding

You need to know and understand:

K1 the relevant health and safety regulations, directives, guidelines, and safe working practices and procedures as defined by your organisation

K2 how to source and interpret maintenance schedules, specifications and instructions that are approved by your organisation

K3 how to identify discrepancies in maintenance schedules, specifications and instructions, including, as appropriate version control

K4 how to identify and analyse the activities to be undertaken

K5 how to identify the systems to be maintained

K6 your organisation’s methods and techniques for carrying out preventative and corrective maintenance activities relevant to your role

K7 the importance of carrying out activities in the specified sequence, agreed timescales, within organisational timescales, and ensuring minimal interference with other systems and assets

K8 the parameters of the operational system

K9 the implications of incomplete activities

K10 the types of defects and variations that could occur

K11 your organisation’s procedures for waste disposal

K12 the relevant reporting lines and procedures that are approved by your organisation

K13 the limits of your own authority and responsibility and those of others involved

Developed by

NSAR

Version Number

2

Date Approved

30 Apr 2024

Indicative Review Date

01 May 2027

Validity

Current

Status

Original

Originating Organisation

GoSkills

Original URN

PPLREEP05

Relevant Occupations

Rail Engineering

Suite

Rail Engineering

Keywords

Preventative, corrective, maintenance, cabling