| BSESPV06 Maintain Solar PV and EESS systems |  |
| --- | --- |

Overview

This standard is for people who maintain Solar PV and Electrical Energy Storage System (EESS) systems and equipment.

Those undertaking this work must be able to undertake maintenance activities in accordance with organisational procedures and the current versions of the appropriate industry standards and regulations, the specification; industry recognised working practices, the working environment and the natural environment.

They must understand and apply the correct methods and procedures for the maintenance of Solar PV and EESS systems and equipment, including:

·         routine and non-routine maintenance

·         the identification and use of the correct instruments

·         how to identify and locate faults

·         how to rectify the faults

·         the completion of the relevant documentation

·         the recording of relevant data and information.

Performance criteria

You must be able to:

1.    obtain clear and detailed information about the Solar PV and EESS system and the equipment to be maintained from relevant:

·         sources of information

·         documentation

2.    confirm the programme of work with the relevant people in accordance with organisational procedures

3.    advise the relevant people clearly and accurately about the potential of any disruption and consequences of undertaking the maintenance activity

4.    determine and obtain the resources required, as relevant, to undertake the maintenance activity

5.    select the instruments to be used

6.    confirm that the instruments are fit for purpose and have a current calibration certificate

7.    identify the  means of electrical isolation for the AC and DC system prior to commencing the maintenance activity

8.    complete safe isolation as and when required to ensure the safe maintenance of electrical cables, conductors and/or wiring system and the associated equipment, accessories and components

9.    comply with industry practices and organisational procedures to ensure the co-ordination of site services and the activities of other trades affected by the maintenance activity

10.  undertake maintenance activity

11.  repair, remove, replace and/or maintain using the correct tools in accordance with industry practices:

·         electrical cables, conductors and/or wiring systems

·         equipment, accessories and components

12.  ensure, if the maintenance activity cannot be completed immediately, the safety of the relevant:

·         electrical cables, conductors and/or wiring systems

·         equipment, accessories and components

13.  complete the specified maintenance activity in accordance with industry recognised methods and practices

14.  inspect and test, as appropriate and in accordance with industry recognised methods and practices the repaired, replaced and/or maintained:

·         electrical cables, conductors and/or wiring system

·         equipment, accessories and components

15.   provide clear and accurate information to relevant people about the Solar PV and EESS system and equipment in terms of:

·         hand over to the customer/client

·         any variations to the original system and/or its equipment

·         customer/client acceptance of the completed work in accordance with organisational procedures

·         relevant documentation being completed and recorded in the appropriate information systems in accordance with organisational procedures

Knowledge and understanding

You need to know and understand:

1.    the operation, applications, advantages and limitations of different Solar PV and EESS systems

2.    how to obtain clear and detailed information about the Solar PV and EESS system and equipment to be maintained from relevant:

·         sources of information

·         documentation

3.     the organisational procedures and industry practices when undertaking the maintenance activity for:

·         advising the relevant people about the potential of any disruption and the consequences

·         confirming the programme of work with the relevant people

·         ensuring the coordination of site services and the activities of other trades affected

4.    how to determine and obtain the resources required to undertake the maintenance activity

5.    how to select the instruments to be used

6.    how to confirm that the instruments are fit for purpose and have a current calibration certificate

7.    the correct procedures for safe isolation for AC and DC systems

8.    the relevant techniques for the maintenance of Solar PV and EESS systems and equipment including how to identify, locate, diagnose and rectify faults

9.    how to repair, remove, replace and maintain Solar PV and EESS system and equipment in accordance with industry practices:

·         electrical cables, conductors and/or wiring system

·         equipment, accessories and components

10.  how to ensure, if the maintenance activity cannot be completed immediately, the safety of the relevant:

·         electrical cables, conductors and/or wiring system

·         equipment, accessories and components

11.  the methods and processes to inspect and test, as appropriate and in accordance with industry practices the repaired, replaced and/or maintained:

·         electrical cables, conductors and/or wiring system

·         equipment, accessories and components

12.  how to provide clear and accurate information to relevant people about the Solar PV and EESS system and equipment in terms of:

·         hand over to the customer/client

·         any variations to the original system and/or its equipment

·         customer/client acceptance of the completed work in accordance with organisational procedures

·         relevant documentation being completed and recorded  in the appropriate information systems in accordance with organisational procedures

Scope/range

Working environments (internal and/or external)

·         domestic

·         non-domestic

o   commercial

o   industrial

o   agricultural

o   horticultural

o   leisure and entertainment

o   residential medical and care facilities

o   public highways and parks

o   public services establishments

o   pre-1919 traditional/historic buildings

Solar PV and EESS system

·         Panels/arrays

·         Panel support systems

·         Charge controller

·         Battery bank

·         Inverter/power optimiser

·         Power meter

·         SMART controls/technology

Organisation procedures

·         information management

·         project management

·         risk assessment

·         risk management

·         implementing and monitoring health and safety requirements and issues

·         implementing and monitoring issues relating to the natural environment

·         customer services

·         emergencies

·         communication with relevant people

Resources

·         labour

·         plant and equipment

·         instruments

·         finance

·         IT

·         materials and other consumables

Site services

·         electricity

·         water

·         gas

·         oil

·         drainage

·         telecommunications

·         data transmission either underground or overhead

Relevant people

·         customers/clients

·         client representatives

·         site/contract manager

·         other contractors/trades

·         members of the public

·         work colleagues

Documentation

·         electrical installation certificates

·         electrical installation condition reports

·         minor electrical installation works certificates

·         schedules of inspections

·         schedules of test results

·         operational instructions

·         manufacturer instructions

·         handover agreements

Electrical cable, conductors and wiring systems

·         thermosetting insulated cables including flexes

·         single and multicore thermoplastic and thermosetting insulated cables

·         flat profile cable

·         mineral insulated cables

·         earthed metallic cable

·         single wire armoured cables

·         armoured/braided flexible cables and cords

·         data cables

·         pre-fabricated conductor, cable and wiring systems

·         fibre optic cable

·         fire resistant cable

·         bus-bar trunking

Equipment, accessories and components

·         arc fault detection devices (AFDDs)

·         cable glands

·         circuit breakers

·         consumer units

·         control devices – electrical; electronic; electro-mechanical

·         control panels – alarms; emergency lighting; environmental control

·         distribution boards and/or panels

·         earthing protection

·         fuses

·         isolators

·         luminaires

·         micro-wind turbine control equipment

·         motor control equipment

·         socket-outlets

·         solar photovoltaic panels – control equipment, components and accessories

·         surge protection devices (SPDs)

·         switches

Enclosures for cables, conductors and wiring systems

·         PVC and steel conduit

·         PVC and steel trunking

·         cable tray

·         basket and ladder systems

·         ducting systems

·         bus-bar trunking

·         pre-fabricated conductor, cable and wiring systems

Information

·         technical – design documentation; plans; installation specifications; equipment  specifications; manufacturer data; manufacturer instructions; BIM data

·         functional – operational instructions

·         customer/client information – drawings; diagrams; user instructions; specifications

·         contractual

·         statutory consents

·         health and safety

·         environmental considerations

Developed by

BSE Skills

Version Number

1

Date Approved

29 Apr 2024

Indicative Review Date

20 Apr 2029

Validity

Current

Status

Original

Originating Organisation

BSE Skills

Original URN

BSESPV06

Relevant Occupations

Electrician

Suite

Solar PV and EESS

Keywords

Maintain; Solar PV; EESS