| COSVR408 Erect and dismantle shoring scaffolds |  |
| --- | --- |

Overview

"This standard is about preparing, erecting and  dismantling dead shore, raking-shore and flying-shore scaffold systems, interpreting information, adopting safe, healthy and environmentally responsible work practices, selecting and using materials, components, tools and equipment.

This standard is for people working in the occupational areas of Scaffolding, Staging and Rigging and can be used by operatives, supervisors and managers."

Performance criteria

You must be able to:

"​P1     interpret the given information relating to the work and

resources to confirm its relevance

P2     comply with the given, relevant legislation and official

guidance to carry out your work and maintain safe and healthy

work practices

P3     select the required quantity and quality of resources for the

methods of work

P4     comply with organisational procedures to minimise the risk of

damage to the work and surrounding area

P5     comply with the given contract information to carry out the

work efficiently to the required specification

P6     complete the work within the allocated time, in accordance

with the programme of work"

Knowledge and understanding

You need to know and understand:

"Performance Criteria 1

Interpretation of information

K1      the organisational procedures developed to report and rectify

inappropriate information and unsuitable resources, and

how they are implemented

K2      the types of information, their source and how they are

interpreted

K3      the organisational procedures to solve problems with the

information and why it is important they are followed

Performance Criteria 2

Safe work practices

K4      current legislation and official guidance and how it is

applied

K5      how emergencies should be responded to and who should

respond

K6      the organisational security procedures for tools, equipment

and personal belongings

K7      the accident reporting procedures and who is responsible for

making the report

K9      why, when and how health and safety control equipment

should be used

K10    how to comply with environmentally responsible work

practices to meet current legislation and official guidance

Performance Criteria 3

Selection of resources

K11      the characteristics, quality, uses, limitations and defects

associated with the resources and how defects should be

rectified

K12      how the resources should be used and how any problems

associated with the resources are reported

K13      the organisational procedures to select resources, why they

have been developed and how they are used

K14      the hazards associated with the resources and methods of

work and how they are overcome

Performance Criteria 4

Minimise the risk of damage

K15      how to protect work from damage and the purpose of

protection

K16      why disposal of waste should be carried out safely and how

it is achieved

Performance Criteria 5

Meet the contract specification

K17      how methods of work, to meet the specification, are carried

out and problems reported

K18      how maintenance of tools and equipment is carried out

Performance Criteria 6

Allocated time

K19      what the programme is for the work to be carried out in the

estimated, allocated time and why deadlines should be kept"

Scope/range related to performance criteria

"Performance Criteria 1

1      interpret plans, drawings and sketches, method

statements, risk assessments, specifications, schedules and

manufacturers' information related to the work to be carried

out

Performance Criteria 2

2      avoid of risk by following the given information relating to

the following:

2.1      methods of work

2.2      safe use of health and safety control equipment

2.3      safe use of access equipment

2.4      safe use, storage and handling of materials, tools and

equipment

2.5      specific risks to health

Performance Criteria 3

3      select of resources associated with own work:

3.1      materials, components, fixings, anchors and ties

3.2      tools and equipment

Performance Criteria 4

4      protect the work and its surrounding area from damage

5      maintain a clear and tidy work space

6      dispose of waste in accordance with current legislation

Performance Criteria 5

7      demonstrate work skills to measure, set out, assemble, fix,

position, secure and remove

8      use and maintain hand tools and ancillary equipment

9      erect and dismantle tube and fitting and/or systems scaffold to

given working instructions to form at least two of the following

9.1   raking-shore scaffolds

9.2   flying-shore scaffolds

9.3   dead shore scaffolds

Performance Criteria 6

10      complete of own work within the estimated, allocated time

to meet the needs of other occupations and/or client"

Scope/range related to knowledge and understanding

"Disposal of waste

1      environmental responsibilities, organisational procedures,

manufacturers’ information, statutory regulations and official

guidance

Emergencies

2      operative's response to situations in accordance with

organisational authorisation and personal skills when involved

with:

2.1      fires, spillages, injuries

2.2      emergencies relating to occupational activities

Hazards

3      those identified by risk assessment, method of work,

manufacturers’ technical information, statutory regulations and

official guidance

Health and safety control equipment

4      identified by the principles of prevention for occupational use,

types and purpose of each type, work situations and general

work environment:

4.1      collective protective measures

4.2      local exhaust ventilation (LEV)

4.3      personal protective equipment (PPE)

4.4      respiratory protective equipment (RPE)

Information

5      plans, drawings and sketches, specifications, schedules, method

statements, risk assessments, manufacturers' information,

standards, regulations and official guidance associated with

scaffolding work

Legislation and official guidance

6      the operative's responsibilities regarding potential accidents

and health hazards and the environment whilst working in the

workplace, below ground level, in confined spaces, at height,

with tools and equipment, with materials and substances, with

movement/storage of materials by manual handling and

mechanical lifting

Maintenance

7      operative care of hand tools, portable power tools and ancillary

equipment

Methods of work

8      application of knowledge for safe work practices, procedures

and skills, relating to the method, area of work and materials

used, to

8.1      identify requirements of scaffold drawings and formula

8.2      confirm the area to erect the shoring scaffold

8.3      confirm that the stability of the foundation and structure

on which the scaffold will be erected and secured has

been considered

8.4      calculate weight distribution and load balance

8.5      confirm the materials and component make-up (tube

and fitting, systems scaffold)

8.6     set out and prepare for the scaffold structure

8.7     erect and secure the scaffold for the use of other

occupations

8.8     dismantle and remove scaffold structure

8.9     visually inspect fall protection equipment

8.10   install ties and test anchors

8.11   work with, around and in close proximity to plant and

machinery

8.12   use hand tools, and ancillary equipment

8.13   work at height

8.14   use access equipment

9       teamwork and communication

10     needs of other occupations associated with erecting and

dismantling shoring scaffolds

Problems

11      those arising from information, resources and methods of

work:

11.1    own authority to rectify

11.2    organisational reporting procedures

Programme

12      types of progress charts, timetables and estimated times

13      organisational procedures for reporting circumstances which

will affect the work programme

Protect work

14      protect work against damage from general workplace

activities, other occupations and adverse weather conditions

Resources

15      materials, components and equipment relating to types,

quantity, quality, sizes and sustainability of standard and

specialist:

15.1   tube and fitting

15.2   systems scaffold

15.3   associated materials (props, ropes, anchors, ties, boards,

plates, beams, ladders, proprietary components)

15.4   hand tools, portable power tools and ancillary

equipment

16      confirm resources and materials conform with the

specification

17      methods of calculating quantity, length and area associated

with the method and procedure to erect and dismantle

shoring scaffolds

Security procedures

18        site, workplace, company and operative, vehicles"

Developed by

CITB

Version Number

3

Date Approved

30 Nov 2020

Indicative Review Date

30 Nov 2025

Validity

Current

Status

Original

Originating Organisation

CITB

Original URN

COSVR408

Relevant Occupations

Scaffolders, Stagers and Riggers

Suite

Accessing Operations and Rigging (Construction)

Keywords

Shoring-scaffold; Raking-shore; Flying-shore; Erecting; Foundation; Stability; Preps, Boards; Deadshore; Systems scaffold