| EUSSM3L Restore sewerage networks to an appropriate condition LEGACY |  |
| --- | --- |

Overview

This Standard is about restoring the function of the sewerage network either on a planned basis or in response to notification of a malfunction of the system. It includes identifying the work to be carried out, carrying out the maintenance with the right method and tools and verifying and testing the restored sewerage network. Maintenance activities could include activities such as making repairs or water-jetting. This Standard is aimed at anyone who works in sewerage maintenance.

Performance criteria

You must be able to:

"1. identify the position of sewerage networks requiring remedial

action in accordance with approved procedures and practices

2. select an appropriate water supply in accordance with approved

procedures and practices

3. establish remedial action requirements in accordance with

relevant technical procedures

4. select information, plant, tools and equipment that are appropriate

for remedial action

5. notify individuals and organisations affected by remedial action in

accordance with relevant company procedures

6. report problems outside the scope of the job holder in accordance

with relevant company procedures

7. identify and report external factors which prevent the job being

carried out when required to appropriate people

8. identify the risks associated with confined spaces, and the

associated control measures

9. prepare tools and equipment in accordance with approved

procedures and practices, reporting any defects and deficiencies

to appropriate people

10. carry out work activities in accordance with approved procedures

and practices at all times

11. dispose of waste materials in accordance with approved

procedures and practices

12. verify and test maintained sewerage network in accordance with

approved procedures and practices

13. record and report work activities and outcomes in accordance with

relevant company procedures

14. identify faults and damage outside the scope of your job

15. report faults and damage in accordance with relevant company

procedures

16. recommend possible temporary arrangements to protect the

operation and condition of sewers and ancillaries, properties and

the environment in accordance with approved procedures and

practices

17. ensure records of faults and damage are accurate and legible,

and are reported in accordance with relevant company

procedures

18. ensure work activities conform with approved procedures and

practices at all times"

Knowledge and understanding

You need to know and understand:

"1. regulatory and company procedures relevant to sewerage

maintenance including those relating to health, safety and the

environment

2. the risks associated with confined spaces and the associated

procedures

3. sources of information relevant to the activity and how to interpret

it

4. the correct procedures for obtaining and using a water supply

5. how to distinguish between public and private sewers

6. materials, tools and equipment requirements for remedial action

7. the most suitable choice of materials and equipment given the

nature of the work activity, and its potential impact on the

environment

8. alternative methods of remedial action including rodding, water

jetting, cleaning and disinfecting and when it is appropriate to use

them

9. the likely impact of work activities on others

10. potential hazards associated with sewage including trade

effluents, uncontrolled discharges into the system, and other

hazardous objects

11. dangers from vermin and the associated control measures

12. the risks associated with confined spaces and the associated

control measures

13. external factors that may affect the work including weather, traffic,

access, safety, working environment, environmental issues

14. methods of verifying and testing maintained sewerage networks

including visual inspection and performance testing

15. types of sewers, drains and ancillaries including un-powered and

electrically isolated ancillaries

16. alternative methods for remedial action

17. the risks associated with manual handling and the appropriate

control measures

18. reporting procedures for defects to tools and equipment

19. implications of inadequate remedial action

20. problems that may be encountered during remedial action and

ways in which they can be mitigated

21. responsibilities for health and safety

22. procedures for disposal of waste materials including for silt, roots

and sewer debris

23. the types of sewerage systems and flow variations

24. faults and damage including major structural damage, serious

blockage, flooding, danger to public health, pollution and how to

identify them

25. recording and reporting procedures

26. types of temporary arrangements including flow diversion,

temporary pumping, isolation to protect work areas and methods

of procurement

27. effects of influents on sewer condition

28. implications of flooding and pollution"

Developed by

Energy & Utility Skills

Version Number

2

Date Approved

01 Dec 2018

Indicative Review Date

01 Dec 2021

Validity

Legacy

Status

Original

Originating Organisation

Energy & Utility Skills

Original URN

eussm4

Relevant Occupations

Engineering, Sewer Maintenance Worker, Field Technician

Suite

Sewerage Maintenance

Keywords

Sewerage; Restore; Ancilliaries