| COGFORM-03 Prepare formulations for evaluation |  |
| --- | --- |

Overview

This standard covers the competences you need to prepare formulations in-line with the agreed plan and in accordance with approved procedures and practices.

You will be required to demonstrate that you can measure, weigh and prepare compounds and solutions in a laboratory environment in accordance with the relevant workplace procedures.

You must also be able to evaluate the hazards of materials and process to be undertaken in advance of starting work.

You will be required to accurately record the preparation protocol including any anomalies to allow the reproducibility of a future manufacturing process.

The activity is likely to be undertaken by someone in a science related work setting in any formulation sector such as pharmaceuticals, personal care, food and drink, paints or lubricants.

In these sectors a knowledge of the principles of separation technologies and the processing of solids and liquids maybe applicable. These principles are supported by the underlying scientific principles that may include the science of: colloids, interfaces, particles, materials, modelling, simulation and data management and analysis.

Performance criteria

You must be able to:

P1 ensure that your work is carried out in accordance with standard operating procedures complying with health and safety (including PPE), environmental and other relevant regulations and guidelines

P2 identify and agree the objectives of the work and produce a workplan

P3 evaluate available information on the required materials and consult with the relevant people to prepare for the preparation of the formulations

P4 identify hazards and assess risks against preparation requirements

P5 ensure that the raw materials are in specification or appropriately characterised prior to starting a formulation preparation

P6 record the origin of the raw materials and ensure traceability through the process

P7 select, calibrate and performance check the equipment to be used in the preparation of the formulations

P8 set the conditions for the preparation of the formulations and take the appropriate action to maintain them

P9 produce the formulations to specification in accordance with the agreed processes.

P10 label and store the samples in accordance with the workplace standards

P11 record accurately the preparation methods and any abnormal occurrences

P12 take corrective action in the event of abnormal occurrences, record and report them to the relevant people

P13 communicate the required information about the work done, in accordance with workplace procedures

Knowledge and understanding

You need to know and understand:

K1 the health and safety regulations and guidelines relating the area in which you are working and of the materials, equipment and PPE used in the scientific or technical activities

K2 the implications of not taking into account of the legislation, regulations, standards and guidelines when conducting scientific or technical activities

K3 the principles of good practice and quality standards in the workplace including as appropriate Good Laboratory Practice (GLP), Good Clinical practice (GCP) and Good Manufacturing Practice (GMP)

K4 the business objectives and the planning process for the formulation work you are to carry out

K5 the essential features of a work plan and how to create one

K6 how to write and use risk assessments to identify hazards associated with the work plan and what action to take

K7 why it is important to accurately follow a work plan and the consequences of not doing so

K8 the range of equipment used for the preparation of formulations

K9 how to choose the appropriate equipment for the scale, accuracy and precision required for the task

K10 how to calibrate the equipment to be used and conduct performance checks

K11 when to utilise an automated process

K12 the specifications of the raw materials and how to check them

K13 the range of methods used to prepare solid and liquid formulations

K14 the operating conditions that are necessary to prepare formulations, and how to maintain them

K15 the environmental conditions during preparation that may affect product performance

K16 the concepts of repeatability and reproducibility

K17 how to sample a prepared formulation for subsequent analysis

K18 the methods used for labelling samples in the workplace to include a traceable name, reference number, materials hazards and relevant dates

K19 the protocols for avoiding cross contamination across materials and equipment

K20 the methods that can be used for dealing with the handling, storage and disposal of materials

K21 the document control and reporting procedures that should be used

K22 why it is important to follow the correct data recording and reporting procedures

K23 the recording and reporting procedure in the event of deviations from work plan

K24 the types of investigation used to review the effectiveness or appropriateness of methods, action and results of the scientific or technical work

K25 the limits of your own authority and to whom you should report if you have problems that you cannot resolve

K26 the lines of communication and responsibilities in your workplace, and their links with the rest of the organisation

K27 the reasons why effective communication is important, and the methods used for communicating effectively

Developed by

Cogent

Version Number

2

Date Approved

30 Mar 2025

Indicative Review Date

30 Mar 2030

Validity

Current

Status

Original

Originating Organisation

Cogent

Original URN

COGFORM03

Relevant Occupations

Science, Science and Mathematics Science, Science Professionals

Suite

Formulation

Keywords

Keywords	Good Laboratory Practice (GLP), Good Clinical practice (GCP), Good Manufacturing Practice (GMP)