| COGFORM-04 Conduct physical and chemical evaluations of formulations using established analytical techniques |  |
| --- | --- |

Overview

This standard covers the competences you need to carry out scientific or technical evaluations of formulations, in accordance with approved procedures and practices.

You will be required to select, performance check and if necessary, calibrate the appropriate analytical equipment prior to evaluating a formulation.

You must also be able to evaluate the hazards of materials and process to be undertaken in advance of starting work.

You will be required to demonstrate that you can prepare and carry out the required scientific or technical tests in accordance with the relevant workplace procedures.

You will accurately record the results of your evaluations and clearly explain your conclusions for future use.

The activity is likely to be undertaken by someone in a science related work setting in any formulation sector such as pharmaceuticals, personal care, food and drink, paints or lubricants.

In these sectors you will need a knowledge of experimental characterisation techniques. This knowledge is supported by underlying scientific principles that may include the science of: colloids, interfaces, particles, materials, modelling, simulation and data management and analysis.

Performance criteria

You must be able to:

P1 ensure that your work is carried out in accordance with standard operating procedures complying with health and safety, (including the use of appropriate PPE), environmental and other relevant regulations and guidelines

P2 identify hazards and assess risks against testing requirements

P3 identify the objective of the investigation and produce a workplan

P4 select the appropriate test methods and identify the equipment and resources required to complete the testing activity

P5 identify the testing operations to be carried out and prioritise the tasks within the workplan

P6 prepare the test samples in accordance with the testing procedures

P7 ensure that you establish and record clearly the identity of the sample and check its integrity

P8 carry out the required tests reproducibly on samples in accordance with the correct testing procedures and techniques

P9 record, in full detail, the results of the tests following workplace reporting procedures to ensure future reproducibility

P10 calibrate the test equipment and monitor to ensure that the output readings are to the required specification, recording any equipment faults

P11 dispose of waste items from the tests following workplace procedures

P12 deal effectively with problems within your control and report those that cannot be solved

P13 communicate the required information about the work done, in accordance with workplace procedure

Knowledge and understanding

You need to know and understand:

K1 the health and safety regulations and guidelines relating the area in which you are working and of the materials, equipment and PPE used in the scientific or technical activities

K2 the legislation, regulations, standards and guidelines when conducting scientific or technical activities and the implications of not taking account of them when conducting the activities

K3 the principles of good practice and quality standards in the workplace including as appropriate Good Laboratory Practice (GLP), Good Clinical practice (GCP) and Good Manufacturing Practice (GMP)

K4 the risks and hazards associated with the testing activities

K5 your business objectives relating to the testing programme and how to identify customer requirements

K6 the purposes of testing, and the specific use to which the test results are to be put in the short and long term

K7 the principles and procedures for the scientific or technical testing

K8 the importance of testing both short-term and long-term performance of the formulation

K9 the essential features of a sampling and testing plan and how to prepare one

K10 the range of equipment available for testing, and how to choose the most appropriate equipment

K11 how to set-up and operate the equipment

K12 when to utilise an automated process

K13 why it is important to carry out pre-test calibration checks and how to check calibration and performance of equipment

K14 how to identify defective equipment and the appropriate action to take

K15 the range of methods used to prepare samples for analysis

K16 the methods used for labelling samples and the importance of correct sample identification

K17 how to check the sample identity and integrity for analysis

K18 the practical procedures for testing solid or liquid formulations

K19 how to evaluate the test results

K20 the repeatability and reproducibility of test results and why it’s important to follow the specific testing procedure

K21 problems that can occur during the sampling, testing or equipment operation and the appropriate action to take

K22 the implications of deviations from set procedures

K23 how to modify and check a new scientific or technical method, and when this may be required

K24 the procedures for storing tested samples when archiving is required

K25 the methods that can be used for the disposal of materials

K26 the document control and reporting procedures that should be used

K27 how to record and evaluate the results of the testing activities

K28 the importance of comprehensive recording of the materials, formulations and evaluations to ensure future reproducibility

K29 the importance of maintaining accurate records including any abnormal occurrences with the equipment or the testing process

K30 the lines of communication and responsibilities in your organisation

K31 the reasons why effective communication is important, and the methods used for communicating effectively

K32 the limits of your own authority and to whom you should report if you have problems that you cannot resolve

Developed by

Cogent

Version Number

2

Date Approved

30 Mar 2025

Indicative Review Date

30 Mar 2030

Validity

Current

Status

Original

Originating Organisation

Cogent

Original URN

COGFORM-04

Relevant Occupations

Science, Science and Mathematics Science, Science Professionals

Suite

Formulation

Keywords

materials, formulations, evaluations, reproducibility