| EUSUND1 Develop utility network design briefs |  |
| --- | --- |

Overview

This standard is about working with stakeholders to develop utility network design briefs. Stakeholders may be internal or external to the organisation. The design brief will summarise the explicit design requirements.

It involves establishing design objectives, analysing detailed information, determining the feasibility of meeting design objectives and developing design briefs with project stakeholders.

This standard is for utility network designers.

Performance criteria

You must be able to:

- collect sufficient information about the key drivers behind utility network designs in line with organisational procedures and industry standards

- develop relationships with stakeholders which facilitate the development of design briefs and are in line with organisational procedures

- consult with project stakeholders throughout the process using communication methods which suit their purpose and time in line with organisational procedures

- formally agree requirements for utility networks before beginning the design process

- establish design objectives for function, performance, installation method, materials, costs, environment and aesthetics of utility networks

- use information from existing designs, research and tests and trials to inform development of the design brief

- develop design briefs that take account of international and national standards of network design

- determine any building regulation constraints or unique or specific features that need particular consideration

- carry out analysis which determines technical, regulatory, legal, network security, reliability and cost implications that need particular consideration

- determine the feasibility of achieving requirements by assessing the features required against the factors which could affect them

- use complex technical data and information to inform the assessment process

- use detailed analytical and modelling processes to inform decision making

- produce a brief which confirms objectives, shows the functionality of their requirements and the feasibility of achieving them in line with organisational procedures and industry standards

- give clear details of specific issues to which stakeholders need to give particular consideration in line with organisational procedures

- provide a copy of briefs to stakeholders in line with organisational procedures

- keep records of the design brief in line with organisational procedures

Knowledge and understanding

You need to know and understand:

- standards, directives, industry guidelines, organisational procedures, systems and manuals, operating parameters and working practices appropriate to the network being designed

- network engineering principles and processes that apply to the network being designed

- legislative requirements for health and safety, the environment and the network being designed

- patents, copyright, and intellectual property issues relevant to the work

- industry standards, specifications, details, and formats

- feasibility studies and their purpose

- the drivers for network design and how these can affect network designs including stakeholder requirements, security and capacity of the network to meet demand

- the different types of internal and external stakeholders that you normally work with and their role

- how to determine who to contact in stakeholders’ organisations and the procedures to be followed

- the processes for obtaining information from internal and external stakeholders, and for assessing its accuracy

- the information to help establish requirements gained from stakeholder's technical requirements, hazard and risk assessments, and environmental impact assessments

- how to use information from conceptual design, detailed design, network demand considerations, existing equipment, national and international standards, codes and specifications

- the effects that emerging technology and environmental considerations have on network design and how to keep abreast of those changes

- how to ensure compliance with legislation and regulation for utility network design

- the types of feature to be considered unique or specific, and the importance of giving them particular consideration

- the factors affecting the feasibility of achieving stakeholder requirements including contractual, cost, timescale, availability, health and safety, environmental, quality

- when to ask for advice and guidance beyond own level of competence

- methods for preparing and structuring a brief

- how to record data and information using organisational systems

Developed by

Energy & Utility Skills

Version Number

2

Date Approved

01 Mar 2025

Indicative Review Date

01 Mar 2028

Validity

Current

Status

Original

Originating Organisation

Energy & Utility Skills

Original URN

EUSGNEM20

Relevant Occupations

Building and Construction, Design Associate Professionals, Draughtspersons, Engineering, Network Designers

Suite

Utility Network Design

Keywords

Utility; utilities; gas; water; power; network; design; briefs; objectives; stakeholder; relationship; network engineering; patents, copyright and intellectual property issues; specifications, details and formats; feasibility studies