| COSVR757 Manage installation, commissioning and handover of retrofit works |  |
| --- | --- |

Overview

This standard is about managing the installation, commissioning and handover of retrofit work in accordance with organisational requirements which are equal to or exceed current statutory and legislative requirements.

This standard is for people working in the occupational area of construction site management which is defined as the management of multiple construction trades and disciplines and can be used by operatives, supervisors and managers

Performance criteria

You must be able to:

P1      observe and apply organisational requirements appropriate for

the protection of the workforce, sub-contractors, suppliers,

consultants, occupants, visitors, the general public, and the

environment by the application of information relating to:

1.1      methods of work

1.2      risk assessments

1.3      safe use and storage of tools

1.4      safe use and storage of materials and components

1.5      traffic management

1.6      emergency plans

1.7      fire safety

1.8      acoustic and sound insulation

1.9      thermal insulation

1.10    workforce competency

1.11    site constraints

P2      manage the implementation of the retrofit plan ensuring effective

and efficient working practices compliant with design and

quality standards, for a given occupational area

P3      review and record on works progress against the project

programme, resources and planned sequencing of works, and

recommend and take corrective action when required

P4      recognise and report defects in installation, with specific

reference to six of the following:

4.1      gaps in installation

4.2      missing and inappropriate fixings

4.3      detailing at corners, edges, junctions and openings

4.4      interaction with building services

4.5      combustion appliances, flues and ventilation

4.6      fire safety

4.7      acoustic and sound insulation

4.8      thermal bypass and thermal bridges

4.9      loading

P5      record and report that ventilation is not compromised and

complies with all relevant standards for the following:

5.1      gas and other combustion appliances

5.2      flues

5.3      general ventilation

P6      check and record that the retrofit works conform to quality,

standards and compliance with the retrofit design and

manufacturers’ instructions, throughout the installation

process, for at least fourteen of the following:

6.1      alterations to the structure

6.2      loadings

6.3      fixings

6.4      corners, junctions and edges of building elements

6.5      interfaces between the building fabric, services and the

occupants

6.6      windows and doors including reveals, sills and soffits

6.7      thermal bypass

6.8      thermal bridges

6.9      air tightness

6.10    vapour barriers

6.11    moisture movement

6.12    moisture ingress

6.13    condensation risks

6.14    rainwater goods

6.15    mechanical, electrical and plumbing (MEP)

6.16    fire safety

6.17    acoustic and sound insulation

P7      recommend, record and implement corrective actions when

required for at least fourteen of the following:

7.1     alterations to the structure

7.2     loadings

7.3     fixings

7.4     corners, junctions and edges of building elements

7.5     interfaces between the building fabric, services and the

occupants

7.6     windows and doors including reveals, sills and soffits

7.7     thermal bypass

7.8     thermal bridges

7.9     air tightness

7.10   vapour barriers

7.11   moisture movement

7.12   moisture ingress

7.13   condensation risks

7.14   rainwater goods

7.15   mechanical, electrical and plumbing (MEP)

7.16   combustion appliances, flues and ventilation

7.17   fire safety

7.18   acoustic and sound insulation

P8      manage the scheduling and coordination of the inspection,

testing, and commissioning and record the outcomes for

retrofit works

P9      recommend, record and implement any required corrective

actions for retrofit works following commissioning including

but not limited to two of the following:

9.1     ventilation

9.2     combustion appliances

9.3     heat recovery devices

9.4     heating systems

9.5     hot water systems

9.6     lighting fittings

9.7     systems and controls

9.8     insulation

9.9     draught proofing

9.10   windows and doors

9.11   solar blinds, shutter and shading devices

9.12   renewable energy installations

9.13   fire safety

9.14   acoustic and sound insulation

P10    manage the project handover on completion of the

installation of retrofit works

Knowledge and understanding

You need to know and understand:

Performance Criteria 1

Observe and apply organisational requirements

K1     what organisational requirements apply to the protection of

the workforce, sub-contractors, suppliers, consultants,

occupants, visitors, the general public, and the environment in

relation to the following:

K1.1      methods of work

K1.2      risk assessment

K1.3      safe use and storage of tools

K1.4      safe use and storage of materials and components

K1.5      traffic management

K1.6      emergency plans

K1.7      fire safety

K1.8      acoustic and sound insulation

K1.9      thermal insulation

K1.10    workforce competency

K1.11    site constraints

Performance Criteria 2

Manage implementation of the retrofit plan

K2      why it is important to manage the implementation of the

retrofit plan ensuring effective and efficient working practices

compliant with design and quality standards for a given

occupational area, and how to do this

K3      why it is required, and how to ensure operatives undertaking

the installation, commissioning and handover are qualified to

do so for a given occupational area

Performance Criteria 3

Review and record on works progress

K4      why reviewing and recording on works progress against the

project programme, resources and planned sequencing of

works is required

K5      how to review, record and report on works progress against

the project programme, resources and planned sequencing of

work

K6     when and how to recommend and take corrective action

K7      how to identify potential risks of failure and mitigate through

planning, accuracy, dimensional control and sequencing of

work, including but not limited to:

K7.1      technical and performance risks:

a   thermal bridges

b   heating

c   ventilation

d   thermal bypass

e   condensation and interstitial condensation

f    alterations in structure

g   moisture movement

h   fire safety

i    acoustic and sound insulation

K7.2      inefficiencies

K7.3      additional costs

K7.4      delays to programme

K7.5      abortive works

K7.6      duplication

K7.7      damage

K7.8      latent defects

Performance Criteria 4

Recognise defects in installation

K8       how to recognise defects in installation with specific

reference to:

K8.1      gaps in installation

K8.2      missing and inappropriate fixings

K8.3      detailing at corners, edges, junctions and openings

K8.4      interaction with building services

K8.5      combustion appliances, flues and ventilation

K8.6      fire safety

K8.7      acoustic and sound insulation

K8.8      thermal bypass and thermal bridges

K8.9      loading

K9       how and when to propose suitable corrective action for any

defects in installation

Performance Criteria 5

Check, record and report that ventilation is not compromised

K10   why it is important to check, record and report that ventilation

is not compromised and complies with all relevant standards,

and how to do this, for the following:

K10.1      gas and other combustion appliances

K10.2      flues

K10.3      general ventilation

Performance Criteria 6

Check and record installation of works

K11     why it is required to carry out specified checks of the retrofit

works during installation and record the works conform to:

K11.1     quality

K11.2     standards

K11.3     manufacturers’ instructions, technical information

and product data sheets

K11.4     retrofit design

K12     how to check and record installation of works for quality,

standards and compliance with the retrofit design, and

manufacturers’ instructions for the following:

K12.1    alterations to the structure

K12.2    loadings

K12.3    fixings

K12.4    corners, junctions and edges of building elements

K12.5    interfaces between the building fabric, services and

the occupants

K12.6    windows and doors including reveals, sills and soffits

K12.7    thermal bypass

K12.8    thermal bridges

K12.9    air tightness

K12.10  vapour barriers

K12.11  moisture movement

K12.12  moisture ingress

K12.13  condensation and interstitial condensation risks

K12.14  rainwater goods

K12.15  mechanical, electrical and plumbing (MEP)

K12.16  fire safety

K12.17  acoustic and sound insulation

K13      the potential risks and implications of non-compliance and poor

quality installations over time for active and passive fire

safety measures

K14      the principles of a building as a system and its component parts

and the importance of identifying standards and the

consequences of failure to follow organisational requirements

K15      the potential risks and implications of non-compliance and

poor quality installations over time including but not limited to:

K15.1      occupant health and safety

K15.2      indoor air quality

K15.3      mould

K15.4      performance gaps

K15.5      rot

K15.6      building fabric decay

K15.7      overheating

K16     the importance of maintaining ventilation

K17     how to recognise ventilation and air movement pathways

through buildings and ensure that these are maintained,

whilst balancing the need for airtightness

K18     how to recognise the different properties of insulation

materials and how these relate to thermal, moisture,

condensation, acoustic and sound and fire safety

K19     the different types of air and vapour control layers and

breather membranes, where and how they should be used,

and why it is important to install them correctly

K20     the importance of ensuring the integrity of air and vapour

control layers and breather membranes following installation

and the need to ensure continuity

K21     how condensation forms in buildings, how this relates to

moisture and moisture movement and what steps can be

taken to mitigate potential risks

K22     why a whole building approach is taken to retrofit works and

how this relates to building performance and building use

Performance Criteria 7

Recommend, record and implement corrective actions

K23     how and when to recommend, record and implement

corrective actions for the following:

K23.1    alterations to the structure

K23.2    loadings

K23.3    fixings

K23.4    corners, junctions and edges of building elements

K23.5    interfaces between the building fabric, services and

the occupants

K23.6    windows and doors including reveals, sills and soffits

K23.7    thermal bypass

K23.8    thermal bridges

K23.9    air tightness

K23.10  vapour barriers

K23.11  moisture movement

K23.12  moisture ingress

K23.13  condensation and interstitial condensation risks

K23.14  rainwater goods

K23.15  mechanical, electrical and plumbing (MEP)

K23.16  combustion appliances, flues and ventilation

K23.17  fire safety

K23.18  acoustic and sound insulation

**

Performance Criteria 8**

Manage the scheduling and coordination of the inspection testing and commissioning

K24      why managing the scheduling and coordination of the

inspection testing and commissioning for retrofit works is

required

K25     how to manage the scheduling and coordination of the

inspection testing and commissioning for retrofit works

K26     why it is required and how to record outcomes for retrofit

works, services and fabric

K27     the range of non-destructive testing and investigation

methods including but not limited to:

K27.1    thermal imaging

K27.2    moisture content of building fabric

K27.3    air tightness for building envelope and identifying air

filtration and air leakage points

K27.4    energy use of buildings from meters and sub-meters

for individual systems

K27.5    sound insulation testing

K27.6    borescope testing

K28     the stages of commissioning including but not limited to:

K28.1    setting-to-work

K28.2    regulation

K28.3    performance optimisation

K28.4    recording

K28.5    post-commissioning checks

K28.6    fine tuning during occupancy

K29     why the final commissioning of all building services is done

together, rather than separately

Performance Criteria 9

Recommend, record and implement corrective actions for  retrofit works following commissioning

K30      why recommending, recording and implementing corrective

actions is required following commissioning

K31      how to recommend, record and implement corrective

actions following commissioning

Perf

*

ormance Criteria 10

*

Manage, monitor and evaluate the project handover

K32     why it is important to manage the project handover on

completion of the installation, and how to do this

K33     why monitoring and evaluation of the project handover is

required

K34     how to manage the project handover in accordance with the

handover strategy and requirements of relevant certification

schemes

K35     how to gather, record, analyse and interpret information

K36     how to convey the following information about the installed

measures:

K36.1    physical inspection and explanation of function and

operation

K36.2    demonstrate the safe operation of any components,

devices and controls

K36.3    visual checks to ensure the recipient is able to

operate the components, devices and controls

K36.4    care needed to avoid detrimental effects

K36.5    maintenance, including requirements to comply with

guarantees and warranties

K36.6    efficient operation to facilitate the delivery of

intended reduction in energy use

K36.7    importance of ventilation

K36.8    post completion services

K36.9    provision of documentation including end-user

advice information

K37      how to present information and recommendations for any

remedial actions or changes to the retrofit process required,

to relevant stakeholders including, but not limited to:

K37.1   clients

K37.2   designers and contract administrators

K37.3   installers and contractors

K37.4   end-users

K37.5   external enforcement and quality assurance bodies

K37.6   funding organisations

K37.7   guarantee or warranty providers

K38      how to ensure operatives undertaking the handover are

vocationally competent to do so and have access to

adequate knowledge of the measures and the behaviours

required for their safe, efficient and effective operation and

maintenance

K39      when to undertake the handover procedure, including a

phased handover

K40      when basic, intermediate and advanced levels of monitoring

and evaluation are required and what information is

required for each

K41      timescales for completing and reporting different levels of

monitoring and evaluation

K42      who are the recipients of the handover process

K43      which stakeholders require copies of the following

documentation:

K43.1    test certificates and commissioning records

K43.2    operation and maintenance instructions and

manuals

K43.3    warranty and guarantee certificates

K43.4    as constructed plans

Developed by

Construction Skills

Version Number

1

Date Approved

30 Sept 2020

Indicative Review Date

30 Sept 2025

Validity

Current

Status

Original

Originating Organisation

CITB

Original URN

VR757

Relevant Occupations

Production Managers and Directors in Construction

Suite

Construction Site Management

Keywords

Retrofit; Retrofit Works; Retrofit Measures; Handover; Commissioning;