| COSVR758 Manage the installation, maintenance, monitoring and removal of temporary works |  |
| --- | --- |

Overview

This standard is about managing the installation, maintenance, monitoring and removal of temporary works, that are consistent with site requirements, and adopting safe, healthy and environmentally responsible work practices in accordance with current organisational requirements which are equal to or exceed current statutory and legislative requirements.

This standard is for people working in the occupational area of construction site management and can be used by operatives, supervisors and managers

Performance criteria

You must be able to:

P1       interpret and confirm the relevance of the following

information in relation to the supervision of installing,

maintaining and removing temporary works:

1.1     drawings

1.2     design brief

1.3     check certificates

1.4     hold points

1.5     permits to work

1.6     risk classification

1.7     implementation plan

1.8     inspection and test plan

1.9     specifications

1.10   schedules

1.11   method statements

1.12   risk assessments

1.13   manufacturers’ information

P2       observe current legislation and official guidance to the work

environment to ensure protection and safety of the

workforce, the general public, visitors, and the environment

by application of information relating to at least six of the

following:

2.1     methods of work

2.2     risk assessment

2.3     safe use and storage of tools

2.4     safe use of access equipment

2.5     traffic management

2.6     emergency plans

2.7     fire safety/ hot works

2.8     lifting plans

2.9     environmental factors

P3       identify, assess and maintain the following resources for

temporary works

3.1    people

3.2    plant, equipment or machinery

3.3    materials and components

3.4    sub-contractors

3.5    information

3.6    work and facilities

3.7    waste management

3.8    utilities (power, water, lighting)

P4       confirm that all materials, equipment and tooling is correct

prior to installation

P5       manage the installation of the temporary works in

accordance with the programme of works to meet the needs

of organisational and other stakeholder procedures

P6       keep accurate records of work progress checks, faults,

problems, corrective actions, quantities involved and

maintain safe working methods and practices

P7       handover the temporary works in accordance with

organisational procedures

P8       manage the removal of the temporary works in accordance

with the programme of works to meet the needs of

organisational and other stakeholder requirements

Knowledge and understanding

You need to know and understand:

Performance Criteria 1

Interpretation of information

K1      how to interpret the given design information relating to the

work and resources to confirm its accuracy, completeness and

relevance to the building type and construction and record

and report issues in relation to the following:

K1.1    drawings

K1.2    design brief

K1.3    check certificates

K1.4    hold points

K1.5    permit to work

K1.6    risk classification

K1.7    implementation plan

K1.8    inspection and test plan

K1.9    specifications

K1.10  schedules

K1.11  method statements

K1.12  risk assessments

K1.13  manufacturers’ information

K2      the characteristics, uses and limitations of temporary works

including but not limited to:

K2.1    pedestrian and vehicular access

K2.2    earthworks: trenches, excavations, temporary slopes

and stockpiles

K2.3    structures: formwork, falsework, propping, façade

retention, needling, shoring, edge protection,

scaffolding, temporary bridges, site hoarding and

signage, site fencing and cofferdams

K2.4    equipment and plant foundations:  tower crane bases,

supports, anchors and ties for construction hoists and

mast climbing work platforms, piling platforms and

groundworks to provide suitable locations for plant

and lifting equipment erection

K2.5    dewatering

K2.6    non-permanent vehicle restraint systems

K2.7    traffic management

K3      how to identify the correct sequence of work for installation,

maintenance and removal of temporary works

K4      how to implement the organisational requirements, to report

inappropriate; design briefs, design check certification,

drawings, specifications, schedules, method statements, risk

assessments, electronic data, written and verbal instructions,

permits, manufacturers' information, official guidance

associated with installation, maintenance, monitoring and

removal of temporary works

K5      the organisational requirements to solve problems with the

information

K6      why it is important to follow the organisational requirements

Performance Criteria 2

Observe legislation and guidelines

K7      how to comply with relevant, current legislation and official

guidance and how it is applied to install and maintain safe,

healthy and environmentally responsible work practices

including:

K7.1    communicate and coordinate with the responsible

person

K7.2    methods of work

K7.3    safe use of health and safety control equipment

K7.4    safe use of access equipment

K7.5    safe use, storage and handling of materials, tools and

equipment

K7.6    specific risks to health

K8      why communication and coordination with the responsible

person as denoted by industry standards is required

K9     the organisational requirements for the security of

temporary works

K10   why it is important to follow the correct sequence of work

when installing and removing temporary works installations **

Performance Criteria 3**

Identify, assess, maintain and record the acquisition of resources

K11    how to identify, assess and record the acquisition of the

following resources:

K11.1     people

K11.2     plant, equipment or machinery

K11.3     materials and components

K11.4     sub-contractors

K11.5     information

K11.6     work and facilities

K11.7     waste management

K11.8     utilities (power, water, lighting)

K12    how to assess the quality of the resources

K13    how to maintain the resources for work activities

K14    how any problems and defects associated with the resources

are reported

K15    hazards associated with the temporary works materials,

supports, components, fittings and fixings, hand tools,

portable power tools and equipment and methods of

installation

K16    project and organisational requirements to obtain a permit to

load from the relevant responsible person as denoted by

industry standards

Performance Criteria 4

Confirm that all materials, equipment and tooling is correct

K17    how to implement organisational procedures, to report

inappropriate; materials, machinery and equipment associated

with the installation, maintenance, monitoring and removal of

temporary works

K18    why reporting inappropriate materials, machinery and

equipment associated with installation, maintenance,

monitoring and removal of temporary works is required

Performance Criteria 5

Maintain and monitor work progress reports

K19    how to keep and maintain accurate records of work progress

by managing checks of the temporary works

K20    why accurate records, to maintain and monitor work progress

are needed

K21    how to communicate and suggest corrective actions and

changes to the programme

Performance Criteria 6

Installation of Temporary Works

K22    how the installation of the works in accordance with the

programme and schedule is to be carried out to meet the

needs of the organisation and other stakeholders

K23    the hazards associated with temporary works materials,

supports, components, fittings, fixings and tooling in relation

to the installation of temporary works

K24     why deadlines should be kept in the installation and removal

of temporary works structures

Performance Criteria 7

Handover the works

K25     why handover of temporary works to the responsible

person, as denoted by organisational procedures, is required

K26     how to identify and confirm the responsible person for

temporary works

K27     how to obtain certificates of sign-off works from the

responsible person

**

Performance Criteria 8**

Removal of temporary works

K28     how the removal of the works in accordance with the

programme and schedule is to be carried out to meet the

needs of the organisation and other stakeholders

K29     the hazards associated with temporary works materials,

supports, components, fittings, fixings and tooling in relation

to the removal of temporary works

K30     the project and organisational procedures to obtain

permission from the responsible person to remove the

temporary works

K31     how to comply with organisational procedures to manage

the removal of temporary works

Developed by

Construction Skills

Version Number

1

Date Approved

30 Sept 2020

Indicative Review Date

30 Sept 2025

Validity

Current

Status

Original

Originating Organisation

CITB

Original URN

VR758

Relevant Occupations

Production Managers and Directors in Construction

Suite

Construction Site Management

Keywords

Manage; Installation; Maintenance; Monitoring; Removal; Temporary Works;