| SEMEMI228 Carrying out maintenance on process control equipment |  |
| --- | --- |

Overview

This standard identifies the competences you need to carry out corrective maintenance activities to process control equipment, in accordance with approved procedures. This will involve dismantling, removing and replacing faulty peripheral components and process controller units, in line with company policy on process control equipment, such as fixed I/O, rack mount and modular systems. You will also need to be able to load and download process control programs, check them for errors, make authorised edits, and create and maintain back-up copies of completed programs.

Your responsibilities will require you to comply with organisational policy and procedures for the maintenance activities undertaken, and to report any problems with these activities, or with the process control system, tools or equipment used, that you cannot personally resolve, or are outside your permitted authority, to the relevant people. You will be expected to work to instructions, alone or in conjunction with others, taking personal responsibility for your own actions, and for the quality and accuracy of the work that you carry out.

Your underpinning knowledge will be sufficient to provide a sound basis for your work, and will enable you to adopt an informed approach to applying maintenance procedures to process control systems. You will have an understanding of dismantling and reassembly methods and procedures, and their application. You will know how the process control system functions and the purpose of individual components, in adequate depth to provide a sound basis for carrying out any repair or adjustment. In addition, you will have sufficient knowledge of these components to ensure that they are fit for purpose and meet the specifications, thus providing a sound basis for carrying out reassembly. You will also know about the interaction of the other associated integrated technologies, and will have sufficient knowledge to carry out the dismantling and reassembly of the process control system, safely and effectively.

You will understand the safety precautions required when carrying out the maintenance activities, especially those for isolating the equipment. You will be required to demonstrate safe working practices throughout, and will understand your responsibility for taking the necessary safeguards to protect yourself and others in the workplace.

Performance criteria

You must be able to:

P1    work safely at all times, complying with health and safety and other relevant regulations, directives and guidelines

P2    follow the relevant maintenance schedules to carry out the required work

P3    carry out the maintenance activities within the limits of your personal authority

P4    carry out the maintenance activities in the specified sequence and in an agreed timescale

P5    deal with problems within your control and report those that cannot be solved

P6    complete and store all relevant documentation in accordance with organisational requirements

P7    dispose of waste materials in line with organisational and environmentally safe procedures

Knowledge and understanding

You need to know and understand:

K1    how to work safely at all times, complying with health and safety and other relevant regulations, directives and guidelines

K2    the importance of wearing the appropriate personal protective equipment (PPE), and of keeping the work area clean and tidy

K3    how to obtain and interpret information from job instructions and other documents needed for the maintenance activities

K4    the basic principles of how the system functions, and its operating sequence

K5    the devices and systems for storing programmes

K6    how to search the user program within the process controller for specific elements

K7    the techniques involved in editing, and the procedure to be followed for

on' and

off-line' programming

K8    the procedure for obtaining replacement parts, materials and other consumables necessary for the maintenance process

K9    the techniques used to dismantle/assemble equipment

K10    methods of attaching identification marks/labels to removed components or cables, to assist with reassembly

K11    methods of checking that components are fit for purpose, and the need to replace batteries, boards and other failed items

K12    how to check that tools and equipment are free from damage or defects, are in a safe and usable condition, and are configured correctly for their intended purpose

K13    the importance of making `off-load' checks before proving the equipment with the electrical supply on

K14    the generation of maintenance documentation and/or reports following the maintenance activity

K15    the equipment operating and control procedures to be applied during the maintenance activity

K16    how to use lifting and handling equipment correctly and safely in the maintenance activity

K17    the issues that can occur during the maintenance of the process control system, and how they can be overcome

K18    the organisational procedure to be adopted for the safe disposal of waste of all types of materials

K19    the extent of your own responsibility and to whom you should report if you have problems that you cannot resolve

Scope/range related to performance criteria

1.    Carry out all of the following during the maintenance activities:

1.1.    undertake the maintenance activities to cause minimal disruption to normal working

1.2.    use the correct issue of maintenance documentation (such as drawings, manuals, maintenance records, schedules)

1.3.    adhere to procedures or systems in place for risk assessment, personal protective equipment and other relevant safety regulations and procedures to realise a safe system of work

1.4.    ensure the safe isolation of equipment (such as mechanical, electricity, gas, air or fluids)

1.5.    ensure that safe access and working arrangements have been provided for the maintenance area

1.6.    carry out the scheduled maintenance tasks, using appropriate techniques and procedures

1.7.    re-connect and return the equipment to service on completion of the maintenance activities

1.8.    dispose of waste items in a safe and environmentally acceptable manner

1.9.    leave the work area in a safe and tidy condition

2.    Carry out maintenance activities on one of the following types of process controller equipment:

2.1.    fixed input/output (I/O)

2.2.    modular

2.3.    rack mount

3.    Carry out four of the following program maintenance activities on the process control system:

3.1.    select and use appropriate programming devices (such as terminals, hand-held programmers and personal computers)

3.2.    programme by computer-based authoring (to include subroutines)

3.3.    use ladder logic, statement lists, or system flowcharts

3.4.    carry out on-line monitoring of programs

3.5.    produce back-ups of completed programs

3.6.    use

on' and

off-line' programming

3.7.    edit, enter and remove contacts from lines of logic

3.8.    use single-step mode of operation

3.9.    load, read and save programs

3.10.    alter counter and timer settings

3.11.    force contacts on and off

4.    Carry out all of the following maintenance activities:

4.1.    take electrostatic discharge (ESD) precautions when handling components and circuit boards

4.2.    proof mark or label removed wires and components

4.3.    replace peripheral devices (such as sensors, actuators, relays, switches)

4.4.    replace components (such as power supplies, circuit boards and controller units)

4.5.    check components for serviceability

4.6.    use program ‘full-run’ modes of operation

4.7.    replace back-up batteries (as appropriate)

4.8.    functionally test the system

4.9.    record the results of the maintenance activity

4.10.    report or take action with regard to any defects that require immediate attention (such as replacing non-‘lifed’ components)

5.    Maintain process control equipment, in accordance with one of the following:

5.1.    BS7671/IET wiring regulations

5.2.    BS, ISO and/or BSEN standards

5.3.    organisational guidelines and codes of practice

5.4.    equipment manufacturer’s operation range

6.    Complete one of the following maintenance records, and pass it to the appropriate person:

6.1.    job cards

6.2.    permits to work/formal risk assessment and/or sign-on/off procedures

6.3.    maintenance log or report

6.4.    organisational specific documentation

6.5.    electronic reports

Developed by

Enginuity

Version Number

3

Date Approved

31 Mar 2026

Indicative Review Date

01 Apr 2029

Validity

Current

Status

Original

Originating Organisation

Enginuity

Original URN

SEMEMI2-28

Relevant Occupations

Maintenance Fitter

Suite

Engineering Maintenance and Installation Suite 2

Keywords

Engineering; manufacturing; maintenance; process controller; logic controller; programmes; edit; load; save