| SEMEMI254 Assisting in the installation of environmental pollution control equipment |  |
| --- | --- |

Overview

This standard identifies the competences you need to assist in the installation of environmental pollution control equipment, in accordance with approved procedures. You will be required to assist in the installation of equipment for an environmental pollution control system, which could be air pollution control equipment (such as decarbonisation (CO2 reduction), denitrification, deodorising, desulphurisation, dust collectors, smoke filters, scrubbers, and removal of refrigerant gases); effluent treatment equipment (such as aerobic and anaerobic biochemical treatment, filter screens and presses, liquid separators, waste oil treatment, sewage treatment, industrial waste water treatment); noise and vibration equipment (such as vibration prevention and isolation, noise attenuation and acoustic enclosures); waste and used product handling, storing and recycling equipment (such as appliance recycling, battery recycling, incinerators, ash handling, heat recovery, shredders and crushers, conveyors and sorters, compaction).

This standard does not involve maintenance/repair type activities, such as removal and replacement of existing equipment.

You will be required to use the appropriate tools and equipment throughout the installation activities, and to apply a range of installation methods and techniques to position, level and align the equipment and to make connections to the required services. The installation activities will include making checks and adjustments, in line with your permitted authority, and assisting others to ensure that the installed equipment functions to the required specification.

Your responsibilities will require you to comply with organisational policy and procedures for the installation activities undertaken, and to report any problems with the activities, tools or equipment used that you cannot personally resolve, or are outside your permitted authority, to the relevant people. You must check all tools, equipment and materials used in the installation activities are removed from the work area on completion of the work, and that all necessary job/task documentation is completed accurately and legibly. You will be expected to work to instructions, alone or in conjunction with others, taking personal responsibility for your own actions, and for the quality and accuracy of the work that you carry out.

The installation activity may be carried out as a team effort, but you must demonstrate a significant personal contribution to the installation activities, in order to satisfy the requirements of the standard, and you must demonstrate competence in all the areas required by the standard.

Your underpinning knowledge will be sufficient to provide a sound basis for your work, and will enable you to adopt an informed approach to applying mechanical installation procedures. You will have an understanding of the equipment being installed, and its installation requirements, in adequate depth to provide a sound basis for carrying out the installation process safely and effectively.

You will understand the safety precautions required when carrying out the installation activities, especially those for ensuring the safe isolation of services. You will be required to demonstrate safe working practices throughout, and will understand your responsibility for taking the necessary safeguards to protect yourself and others in the workplace.

Performance criteria

You must be able to:

P1    work safely at all times, complying with health and safety and other relevant regulations, directives and guidelines

P2    follow all relevant instructions/documentation for the installation being carried out

P3    use the correct tools and equipment for the installation operations, and check that they are in a safe and usable condition

P4    assist in the installation, positioning and securing of the equipment, using appropriate methods and techniques

P5    carry out and/or assist in checking the installation, and make any adjustments in accordance with the specification

P6    assist in using fault location methods and techniques on the installed equipment

P7    deal with problems within your control and report those that cannot be solved

P8    dispose of waste materials in line with organisational and environmentally safe procedures

P9    complete and store all relevant documentation in accordance with organisational requirements

Knowledge and understanding

You need to know and understand:

K1    how to work safely at all times, complying with health and safety and other relevant regulations, directives and guidelines

K2    the importance of wearing the appropriate personal protective equipment  (PPE), and of keeping the work area clean and tidy

K3    how to obtain and interpret information from job instructions and other documents needed in the installation process

K4    the basic principles of how the equipment functions, and its operating sequence

K5    methods and techniques used to position, assemble, align and secure the plant and equipment

K6    methods of making holes for floor fixing bolts

K7    the various mechanical fasteners that will be used, and their method of installation

K8    procedures for ensuring that you have the correct tools, equipment, and fasteners for the installation activities

K9    methods of lifting, handling and supporting the equipment

K10    checks, tests, corrections and adjustments to ensure proper equipment safety, integrity, operation and accuracy

K11    connecting equipment to external supplies

K12    why electrical bonding is critical, and why it must be both mechanically and electrically secure

K13    the procedure for the safe disposal of waste materials

K14    recognising defects

K15    the importance of ensuring that the completed installation is left in a safe, clean and damage-free state

K16    the dangers of leaving any exposed potential energy sources

K17    typical issues that can occur during the installation, and how these can be overcome

K18    the fault finding techniques to be used if the equipment fails to operate correctly

K19    the recording documentation to be completed for the activities undertaken

K20    the extent of your own responsibility and to whom you should report if you have problems that you cannot resolve

Scope/range related to performance criteria

1    Carry out all of the following during the installation of the environmental pollution control equipment:

1.1    adhere to procedures or systems in place for risk assessment, personal protective equipment and other relevant safety regulations and procedures to realise a safe system of work

1.2    confirm that authorisation to carry out the installation activities has been given

1.3    check that safe access and working arrangements for the installation area have been provided

1.4    confirm that services have been safely isolated, ready for the installation (such as mechanical, electricity, gas, air or fluids)

1.5    check that all required installation consumables are available

1.6    leave the work area in a safe condition and free from foreign object debris

2    Assist in the installation of one of the following types of environmental pollution control equipment:

2.1    air pollution control equipment (such as decarbonisation (CO2 reduction), denitrification, deodorising desulphurisation, dust collectors, smoke filters, scrubbers, and removal of refrigerant gases)

2.2    effluent treatment equipment (such as aerobic and anaerobic biochemical treatment, filter screens and presses, liquid separators, waste oil treatment, sewage treatment, industrial waste water treatment)

2.3    noise and vibration equipment (such as vibration prevention and isolation, noise attenuation and acoustic enclosures)

2.4    waste and used product handling, storing and recycling equipment (such as appliance recycling, battery recycling, incinerators, ash handling, heat recovery, shredders and crushers, conveyors and sorters, compaction)

3    Assist in the installation of eight of the following components:

3.1    annunciator

3.2    actuators

3.3    wiring enclosures

3.4    distribution board

3.5    mechanical drives

3.6    switches

3.7    switch gear

3.8    burners

3.9    ducting

3.10    instrumentation

3.11    containment booms

3.12    pumps

3.13    pipework and hoses

3.14    floor baseplates

3.15    safety devices

3.16    safety device

3.17    gear boxes

3.18    motor and starter

3.19    monitoring device

3.20    motors

3.21    control panel

3.22    couplings or linkages

3.23    sensors

3.24    building management device

3.25    relays or solenoids

3.26    cables and wires

4    Apply installation methods and techniques to include five of the following:

4.1    marking out of locating and securing positions

4.2    aligning equipment

4.3    drilling and hole preparation

4.4    levelling equipment

4.5    fitting inserts (such as rag or expanding bolts)

4.6    shimming and packing

4.7    positioning the equipment

4.8    fitting anti-vibration mountings

4.9    making installation connections (such as mechanical, electrical, fluid power, utilities)

4.10    securing by using mechanical fixings

4.11    applying screw fastener locking devices

5    Use three of the following instruments during the installation activities:

5.1    straight edges and feeler gauges

5.2    plumb lines/taut wires

5.3    engineers' levels

5.4    alignment telescopes

5.5    dial test indicators

5.6    laser equipment

5.7    mechanical measuring instruments (such as rule, tape)

5.8    self-diagnostic equipment

5.9    electrical measuring instruments (such as multimeter)

5.10    theodolite

5.11    fluid power measuring equipment (such as pressure, flow)

5.12    vibration transducer

6    Assist in the movement and positioning equipment using two of the following

6.1    slings

6.2    portable lifting devices

6.3    rollers/skates

6.4    jacks

6.5    cranes

6.6    block and tackle

6.7    hoists

6.8    manual handling

6.9    fork lift

7    Carry out all of the following checks, and make corrections/adjustments as appropriate:

7.1    making `on-load' checks

7.2    making sensory checks (sight, sound, smell, touch)

7.3    checking level and alignment

7.4    ensuring that dangerous areas are properly guarded

7.5    lubrication effects

7.6    checking torque settings of fasteners

7.7    checking for leaks

plus: assist in carrying out two of the following checks:

7.8    assembly fits

7.9    system pressures and flows

7.10    mechanical integrity

7.11    speeds and feeds

7.12    electrical integrity

7.13    vibration levels

7.14    temperature levels

7.15    testing to ensure that the equipment meets the requirements of the installation

8    Assist in dealing with two of the following conditions during the installation process:

8.1    installations with no faults

8.2    partial equipment malfunction

8.3    complete malfunction of equipment

9    Assist in using fault location methods and techniques on the installed equipment, to include one of the following:

9.1    diagnostic aids (such as company records/history, manufacturers' manuals, fault analysis charts, troubleshooting guides)

9.2    fault finding technique (such as six point, half-split, unit substitution)

9.3    function testing the installation/running equipment self-diagnostics

10    Produce installations which comply with one of the following:

10.1    equipment manufacturer's operation range

10.2    BS, ISO and/or BSEN standards

10.3    customer standards and requirements

10.4    organisational standards and procedures

11    Assist in the completion of the relevant paperwork, to include one from one of the following:

11.1    installation records

11.2    organisational specific documentation

11.3    job card

11.4    electronic reports

Developed by

Enginuity

Version Number

3

Date Approved

31 Mar 2026

Indicative Review Date

01 Apr 2029

Validity

Current

Status

Original

Originating Organisation

Enginuity

Original URN

SEMEMI2-54

Relevant Occupations

Maintenance Fitter

Suite

Engineering Maintenance and Installation Suite 2

Keywords

Engineering; manufacturing; installation; environmental pollution; control equipment; air pollution; effluent treatment; waste