| LANLEO27 Handle refrigerants |  |
| --- | --- |

Overview

​This standard covers the handling of refrigerants. It includes any activities that involve the handling of refrigerants associated with air-conditioning/climate control and/or refrigeration systems (e.g. recovery, flushing and/or recharging).

This standard is for those who work with refrigerants.

Note: anyone who handles refrigerants should hold a valid certificate that complies with current F gas handling regulations.

Performance criteria

You must be able to:

- ​be aware of the hazards and risks associated with the handling of refrigerants

- use suitable personal protective equipment (PPE) when handling refrigerants

- identify the type and capacities of the refrigerant and use the tools and equipment required to handle refrigerants and carry out all activities in line with the manufacturers’ specifications

- collect and transfer any waste material in accordance with the relevant legislation and company procedures

- complete records as required by the relevant legislation and company procedures

Knowledge and understanding

You need to know and understand:

- ​the hazards and risks associated with refrigerant handling

- the importance of selecting, using and maintaining appropriate personal protective equipment (PPE) when handling refrigerants

- the health and safety and environmental legislation covering the handling and disposal of refrigerants

- the procedures relevant to the safe handling of refrigerants

- the operating principles and function of mobile air-conditioning (MAC) and/or fixed plant refrigeration systems and components

- the types of legal refrigerants and their properties, characteristics and environmental impact

- how to recognise the characteristics associated with different refrigerant handling equipment including basic and automatic equipment

- how to handle refrigerants in mobile air-conditioning and/or fixed plant refrigeration systems

- how to work in a way that minimises the risk of any refrigerant emissions

- the legal requirement to maintain records and the company procedure for maintaining records

Glossary

​activities e.g. recovery, flushing and recharging

Developed by

Lantra

Version Number

3

Date Approved

31 Jan 2022

Indicative Review Date

31 Jan 2027

Validity

Current

Status

Original

Originating Organisation

Lantra

Original URN

LANLEO27

Relevant Occupations

Land-based Engineering

Suite

Land-based Engineering Operations

Keywords

refrigerant; air conditioning; refrigeration; recovery; recharging