| COSVR52 Line chimney structures with cast material |  |
| --- | --- |

Overview

​This standard is about preparing chimney

services and systems

, lining chimney structures with cast material, interpreting information, adopting safe, healthy, and environmentally responsible work practices, selecting, and using materials, components, tools, and equipment, in accordance with the

work area

and the

organisational procedures

which are equal to or exceed the current statutory and legislative

documentation and specifications

This standard is for people working in the occupational area of Chimney Occupations and can be used by operatives, supervisors and managers

A description of terms in bold font in this National Occupational Standard can be found in the Glossary which should be used as a reference point

Performance criteria

You must be able to:

​Interpretation of information

P1

interpret the information relating to the work and resources to confirm its relevance for the following:

•

documentation and specifications

•  drawings

•  schedules

•  contract information

•  pre-installation surveys

•  risk assessments

•  method statements

Safe work practices

P2

comply with the relevant legislation, official guidance and

organisational procedures

, to carry out your work and maintain safe, healthy and environmentally responsible work practices relating to the following:

•  methods of work

•  safe use of health and safety control equipment relevant to the           task being undertaken and the working environment

•  safe use of access equipment and working platforms

•  safe use, storage and handling of materials, tools and equipment

•  specific risks to health including mental health

•  specific risks associated with asbestos containing materials

•  specific risks associated with silica dust, mortars and sealants

Selection of resources

P3

select the required quantity and quality of resources for the methods of work:

•  materials, components and fixings

•  tools and equipment

•  access equipment

Minimise the risk of damage

P4

comply with organisational procedures to minimise the risk of damage to the work and surrounding area by:

•  protecting the work and its surrounding area from damage

•  maintaining a safe, clear and tidy

work area

*

•  disposing of waste in accordance with                                                 current legislation and industry best practice

*

Meet the contract specification

P5

comply with the contract information to carry out the work efficiently to the required specification by the following:

•  demonstrating work skills to inspect, prepare, remove, measure,       mark out, scrape, cut, mix, clean, apply and finish

•  using and maintaining all hand and power tools and ancillary           equipment

•  installing cast in-situ chimney linings to working instructions

Allocated time

P6

complete the work within the estimated, allocated time in accordance with

organisational procedures

, the programme of work and to meet the needs of other occupations and/or client

Knowledge and understanding

You need to know and understand:

P1 Interpretation of information

K1 why

organisational procedures

have been developed to report and rectify inappropriate information and unsuitable resources, and how they are implemented

K2 the types of information, their source and how they are interpreted in relation to:

•

documentation and specifications

•  drawings

•  schedules

•  contract information

•  pre-installation surveys

•  risk assessments

•  method statements

K3 the range of relevant digital services, tools and systems, and how they are used

K4 the importance of

organisational procedures

to record, report and solve problems with the information and why it is important to follow them

P2 Safe work practices

K5 information for current legislation and official guidance and how it is applied

K6 the types of fire extinguishers and how and when they are used in relation to water, CO2, foam, powder

K7 how emergencies should be responded to and reported in accordance with organisational authorisation and personal skills in relation to:

•  fires, spillages and injuries

•  emergencies relating to occupational activities

•  identification and reporting of asbestos containing materials

K8 the organisational security procedures for tools, equipment and personal belongings in relation to:

•  operative

•  site

•  workplace

•  vehicles

•  company

•  customer

•  the general public

•  other occupations within the workplace

K9 how to report risks and hazards identified by the following:

•  methods of work

•  risk assessment

•  personal assessment

•  manufacturers’ technical information

•  statutory regulations

•  official guidance

•  Control of Substances Hazardous to Health (COSHH)

K10 the accident reporting procedures and who is responsible for making the report

K11 why, when and how health and safety control equipment identified by the principles of prevention should be used in relation to:

•  collective protective measures

•  personal protective equipment (PPE)

•  respiratory protective equipment (RPE)

•  local exhaust ventilation (LEV)

K12 how to comply with environmentally responsible work practices to meet current legislation and official guidance when dealing with potential accidents, health hazards and the environment in relation to working:

•  in the workplace

•  below ground level

•  in confined spaces

•  at height

•  with tools and equipment

•  with materials and substances

•  whilst moving and storing materials by manual handling and             mechanical lifting

P3 Selection of resources

K13 why the characteristics, quality, uses, sustainability, limitations and defects associated with the resources are important and how defects should be reported and rectified

K14 the

organisational procedures

to select resources, why they have been developed and how they are used

K15 how to confirm the resources and materials conform with the specification

K16 how the resources should be used and how any problems associated with the resources are reported in relation to:

•  lining components

•  lining compounds

•  fast setting compounds

•  mortars

•  cements

•  void formers and spacers

•  fixings

•  fittings

•  mixing and pumping equipment

•  tools

•  equipment

K17 how to identify the hazards associated with the resources and methods of work and how they are overcome

K18 how to calculate quantity, length and wastage

P4 Minimise the risk of damage

K19 how to protect work and its surrounding area from damage and the purpose of protection from general workplace activities, other occupations and adverse weather conditions and how to minimise damage to existing building fabric

K20 why and how the disposal of waste must be carried out safely in accordance with the following

•  environmental responsibilities

•

organisational procedures

•  manufacturers’ information

•  statutory regulations

•  official guidance

K21 why it is important to maintain a safe, clear and tidy

work area

*

P5 Meet the contract specification

*

K22 how the methods of work, to meet the specification, are carried out and how problems are identified and reported by the application of knowledge for safe, healthy and environmentally responsible work practices, procedures and skills relating to the method and area of work in relation to the following:

•  how to inspect, prepare and repair chimney structures

•  how to install cast in-situ linings

•  how to provide permanent and temporary support

•  why it is important to select the correct flue diameter

•  why it is important that the flue terminates in an appropriate              position

•  how to provide access for inspection and maintenance

•  why it is important to provide permanent and temporary support

•  the relevance of an assessment of significance and how to                 recognise specific requirements for structures of special interest,       traditional construction, hard-to-treat buildings and historical           significance

•  how to work safely with, around and in close proximity to plant          and machinery

•  how to identify and follow the installation quality requirements

•  how to use hand and power tools and equipment, including              mixing and pumping equipment

•  how to work at height using access equipment

•  how and why operative care and maintenance of work tools and        equipment is carried out

K23 the importance of team-work and communication,

organisational procedures

with respect to site behaviours, and how to respond to inappropriate site behaviours

K24 the needs of other occupations associated with lining chimney structures with cast material

P6 Allocated time

K25 the programme of work to be carried out including the estimated and allocated time and why deadlines should be kept

K26 the types of progress charts, timetables and estimated times and the

organisational procedures

for reporting circumstances which will affect the work programme

Glossary

​

Organisational procedures

Organisational

Insurances – public, product and employers liability, professional indemnity

Company documents

contract for the work, safety management plan, Construction Design and Management regulations, environmental policy, complaints procedure, information privacy and security policy, management structure

Work area

The area where the equipment will be installed and all areas affected by the work extending to topographical features and meteorological conditions

Services and systems

Chimney and flue systems, appliances, ventilation systems and appropriate utilities

Documentation and specifications

Manufacturers’ instructions for all equipment that forms part of the work

architect’s plans and site-specific documentation

local building rules and regulations

Party Wall legislation

Clean Air Act

Environment Act

Smoke Control Zones

Permitted Development

Conservation Areas

Heritage status

Areas of Outstanding Natural Beauty

Sites of Special Scientific Interest

specific requirements of insurance underwriters

Building regulations in England and Wales, particularly ADJ but also ADA, ADB, ADF, ADL and AD7

Building Standards Technical Handbook in Scotland

Technical Booklets in Northern Ireland, particularly B, D, E, F1, F2, K and L

BSEN’s particularly 8303, 15287, 1856, 16510, 1251, 3376, 4834, 12815, 13229, 13240, 15250

Note:

Technical and BSEN documents may be withdrawn or superseded during review programmes, it is therefore important to check the currency and validity of all such documents to ensure the correct version is being referenced.

Appliances

Solid fuel burning appliances up to 50kW output including but not limited to the following:

•  open fires

•  free standing room heaters

•  inset room heaters

•  free standing cookers

•  independent boilers

•  slow heat release stoves

Developed by

Construction Skills

Version Number

2

Date Approved

31 Dec 2022

Indicative Review Date

31 Dec 2027

Validity

Current

Status

Original

Originating Organisation

CITB

Original URN

COSVR52

Relevant Occupations

Construction and Building Trades nec

Suite

Chimney Occupations (Construction)

Keywords

Chimney; Lining compounds; Lining components; Fast-setting compounds; Mixing equipment; Pumping equipment