| SEMEM440 Carrying out the testing and calibration of instrumentation control equipment and circuits |  |
| --- | --- |

Overview

This standard identifies the competences you need to lead and carry out tests and calibration of instrumentation and control equipment and circuits, in accordance with approved procedures. You will be required to carry out the various tests and calibration on a range of instrumentation equipment, such as pressure, flow, level and temperature instruments; fiscal monitoring equipment; smoke, heat, gas, water, chemical and metal detection and alarm systems; industrial weighing systems; linear and rotational speed measurement and control; vibration monitoring equipment; photo-optic instruments; nucleonic and radiation measurement; analysers recorders and indicators; telemetry systems; emergency shutdown systems and other specific instrumentation, to establish that they are functioning at optimal level and to specification.

You will be required to carry out tests and calibration which will include voltage and current levels, resistance values, waveform, open/short circuit, signal injection, logic state, pressure/leak tests, signal measurement and transmission and other specific or special-to-type tests.

Your responsibilities will require you to comply with organisational policy and procedures for carrying out the testing and calibration activities, and to report any problems with these activities that you cannot personally resolve, or that are outside your permitted authority, to the relevant people. You will be expected to work with minimal supervision, taking personal responsibility for your own actions, and for the quality and accuracy of the work that you carry out.

Your underpinning knowledge will provide an in depth understanding of the procedures for carrying out the required tests and calibration, and will provide an informed approach to applying the necessary testing and calibrating procedures. You will understand the equipment being worked on, the test and calibration equipment being used, and the various testing/calibrating procedures and their application, in adequate depth to provide a sound basis for carrying out the activities to the required specification and remains compliant with all standards and regulations. In addition, you will be expected to review the outcome of the tests/calibration, to compare the results with appropriate specifications, to determine the action required, and to record/report the results in the appropriate format.

You will understand the safety precautions required when carrying out the testing and calibrating activities, especially those for isolating the equipment.  You will be required to demonstrate safe working practices throughout, and will understand your responsibility for taking the necessary safeguards to protect yourself and others in the workplace.

Performance criteria

You must be able to:

- work safely at all times, complying with health and safety and other relevant regulations, directives and guidelines

- produce and update relevant testing/calibration schedules and plans

- lead testing/calibration activities within the limits of your personal authority

- carry out the testing/calibration activities in the specified sequence and in an agreed timescale

- report any instances where the testing/calibration activities cannot be fully met or where there are identified defects outside the planned schedule

- complete relevant testing/calibration documentation accurately

- dispose of waste materials in accordance with safe working practices and approved procedures

- identify and lead on making improvements to testing/calibration processes and procedures

- update management information and systems to support the activities of the maintenance department

Knowledge and understanding

You need to know and understand:

- the health and safety requirements of the area in which the testing/calibration activity is to take place, and the responsibility these requirements place on you

- how to prioritise your own and your team's workload to ensure that targets are met

- how to communicate effectively, listen, question, support and coach others to work towards the departmental targets

- the importance of ensuring that teams have the required skills, knowledge and understanding in order to maintain equipment to the required standards

- how to complete a skills audit of team members

- how maintenance teams can access the appropriate training and development programmes once a need training need has been identified

- the isolation and lock-off procedure or permit-to-work procedure that applies to the system and instruments being worked on, and how to check that any stored energy in pipework and instruments has been released

- the specific safety precautions to be taken when carrying out instrument and circuit testing and calibration activities

- hazards associated with carrying out testing and calibrating activities on instrumentation and control systems (such as stored pressure/force, electrical supplies, process controller interface, using damaged or badly maintained tools and equipment, not following laid-down testing and calibration procedures) and how to minimise them and reduce any risks

- the importance of wearing protective clothing and other appropriate safety equipment, during the testing and calibrating activities

- how the testing and calibrating activities may affect the work of others and the procedure for informing them of the work to be carried out

- the procedures and precautions to be adopted to eliminate/protect against electrostatic discharge (ESD)

- how to obtain and interpret circuit drawings, calibration data, instrument specifications, manufacturers' manuals, history/maintenance reports, symbols used on instrumentation and control documents, and other documents needed in the testing and calibration process

- the basic principles of operation of the instrumentation and control equipment being tested/calibrated, how the system functions, its operating sequence, the working purpose of individual units/components and how they interact

- the reasons for making sure that control systems are isolated or put into manual control, and appropriate trip locks or keys are inserted, before removing any sensors or instruments from the system

- the identification of instrument sensors (including how to identify their markings, calibration information, component values, operating parameters and working range)

- methods of checking and calibrating instruments, and the type and range of equipment that can be used

- how to set up and apply the appropriate test and calibration equipment (such as pressure testing in incremental stages)

- how to check that the test and calibration equipment is free from damage or defects, is in a safe and usable condition, and is configured correctly for the intended purpose

- how to analyse the test and calibration results, and how to use comparison and sequential techniques

- the environmental control requirements and company operating procedures relating to the testing and calibrating activities

- the documentation required, and the procedures to be followed, at the conclusion of the testing and calibrating

- what to do if instruments or control circuits do not meet the required calibration parameters

- how to conduct a systematic plan, do, check, act (PDCA) approach to problem-solving and business improvement

- how to evaluate improvement ideas in order to select those that are to be pursued

- how improvements to the process are achieved by engaging the knowledge and experience of the people working on the process

- how to create or update Standard Operating Procedures (SOP's) maintenance schedules and plans

- the techniques required to communicate information using visual control systems (such as card systems, colour coding, floor footprints, graphs and charts, team boards, tool/equipment shadow boards)

- the extent of your own authority and to whom you should report if you have problems that you cannot resolve

Scope/range related to performance criteria

​

- Lead a maintenance team by carrying out all the following:

  - communicate the testing/calibration activities to the team

  - involve the team in planning how the testing/calibration activities will be undertaken

  - allocate specific testing/calibration activities to each team member

  - involve the team in identifying improvements that could be made to the testing/calibration process and/or procedures

  - encourage the team and/or individuals to take the lead where appropriate

- Review and update maintenance procedures and plans to include three the following:

  - preventive testing/calibration (routine inspections, and adjustments)

  - corrective testing/calibration (activities identified from preventative maintenance activities)

  - predictive testing/calibration (analysis of the equipment's condition)

  - reactive testing/calibration (unexpected equipment/component failure)

  - maintenance prevention (equipment/component design and development)

plus supporting documentation associated with two

*

*of the following

6. equipment performance

7. equipment downtime/failure

8. overall equipment effectiveness (OEE)

9. maintenance costs

10. health and safety

11. staff development and training

12. maintenance procedures/instructions

13. testing/calibration processes

14. operator manuals/working instructions

15. regulatory compliance

- Carry out all of the following during the testing and calibration activities:

  - obtain and use the correct issue of company and/or manufacturers' drawings and testing/calibration documentation

  - adhere to procedures or systems in place for risk assessment, COSHH, personal protective equipment (PPE) and other relevant safety regulations

  - where appropriate, ensure the insertion of any relevant system trip defeats (such as fire extinguishant, emergency shutdown)

  - ensure the safe isolation of instruments (such as process, electrical, hydraulic, pneumatic, mechanical)

  - ensure that test equipment used is appropriate for the tests being carried out, is within current calibration dates and is used within its specified range

  - provide and maintain safe access and working arrangements for the testing and calibration area

  - carry out the testing and calibration activities, using appropriate techniques and procedures

  - where applicable, take electrostatic discharge (ESD) precautions when handling sensitive components and circuit boards

  - re-connect and return the equipment to service on completion of the testing and calibration activities

  - dispose of waste items in a safe and environmentally acceptable manner, and leave the work area in a safe condition

- Carry out tests and calibration on four of the following types of instrumentation control equipment and circuits:

  - pressure (such as absolute, gauge, vacuum)

  - flow (such as orifice plate, venturi tube, electromagnetic, ultrasonic, differential pressure cell, positive displacement)

  - level (such as floats, displacer, differential pressure cells, load cells, ultrasonic, conductivity)

  - temperature (such as bi-metallic, thermocouples, resistance, infra-red, thermal imaging)

  - weight (such as mechanical systems, load cells/strain gauges, transducers)

  - fiscal metering (such as gas, electricity, water, fuel)

  - detection and alarm (such as smoke, heat, gas, chemical, water, metal)

  - speed measurement (such as mechanical, electrical, stroboscopic)

  - emergency shutdown

  - speed control (such as mechanical governors, electrical governors, DC speed controller, AC motor control systems, stepper motors, invertors)

  - vibration monitoring (such as vibration switches, proximity probes, seismic velocity transducer, linear variable differential transformers, portable data collectors)

  - nucleonic and radiation (such as Geiger-Muller tube, neutron counter, photomultiplier tube, proportional counter, ionising radiation monitors)

  - analysers (such as gas detection, spectroscopy, oxygen analyser, water analysis, moisture measurement, density)

  - recorders and indicators

  - telemetry systems (such as master station, outstation, stand alone systems)

  - valves and valve mechanisms (such as control valves, valve actuators and positioners)

  - other specific instrumentation

- Carry out tests and calibration using a range of tools and test equipment, to include six of the following:

  - multimeter

  - insulation testers

  - temperature baths

  - signal sources

  - standard test gauges

  - calibrated weights

  - current injection devices

  - pressure sources

  - comparators

  - analogue and digital meters

  - digital pressure indicators

  - dead weight tester

  - logic probes

  - calibrated flow meters

  - special purpose test equipment

  - workshop potentiometers

- Carry out all of the following during the testing/calibrating activities:

  - obtaining calibration parameters from data records

  - installing alarm defeat keys or program overrides (where appropriate)

  - connecting up supplies, test and calibration equipment

  - carrying out the tests and calibration to manufacturers' procedures

  - setting, adjusting and calibrating the equipment and control circuit to the required specification parameters

  - recording the test and calibration results in the appropriate formats/documentation

  - dealing with instruments and control circuits that do not meet specification requirements

- Carry out six of the following tests and calibrations:

  - visual inspection of the instrument for completeness and freedom from damage or foreign objects

  - standard serviceability test/calibration

  - equipment self-diagnostics

  - leak/pressure test

  - signal injection tests

  - soak test

  - special-to-type tests

  - signal measurement and transmission

  - operational/function checks

  - five point calibration

  - unit substitution

- Identify and implement improvements in the services provided by the maintenance team to include two

- *

- *of the following:

  - equipment downtime during maintenance

  - equipment performance monitoring systems

  - overall equipment effectiveness (OEE)

  - maintenance procedures

  - testing/calibration processes

  - operator instructions

  - visual management systems/documentation

  - resource planning

  - costs

  - staff development and training

  - health and safety

  - procurement

  - other specific improvement

- Test and calibrate instrumentation control equipment and circuits, in compliance with three of the following

  - organisational guidelines and procedures

  - equipment manufacturer's operating specification/range

  - British, European or International standards or directives

  - recognised compliance agency/body standards or directives

  - health, safety and environmental requirements

  - customer standards and requirements

* *

- Complete the relevant testing/calibration documentation to include one from the following:

  - job cards

  - testing/calibration log or report

  - company-specific recording system

Behaviours

​Additional Information

You will be able to apply the appropriate behaviours required in the workplace to meet the job profile and overall company objectives, such as:

- strong work ethic

- positive attitude

- team player

- dependability

- responsibility

- honesty

- integrity

- motivation

- commitment

Developed by

Enginuity

Version Number

2

Date Approved

30 Mar 2017

Indicative Review Date

31 Mar 2020

Validity

Current

Status

Original

Originating Organisation

Semta

Original URN

SEMEM4-40

Relevant Occupations

Corporate Managers and Senior Officials, Engineering, Engineering and Manufacturing Technologies, Functional Managers

Suite

Engineering and Manufacture Suite 4

Keywords

Engineering; leading; design; process; maintenance; quality; customer; function; features; objectives; manufacturing; installation; commissioning; testing; carrying out; problems; specifications; quality; research; evaluate; instrumentation; calibration